Freehold Towns - PASSAGES

Custom Quality Construction

•	All clay brick and/or stone construction (as per plan)

•	Porches are a gracious feature. Where provided porches are re-enforced poured concrete

•	Steep roof pitches enhance all elevations

•	Self-sealing high grade architectural fiberglass laminate shingles

•  Backyard access through garage on specified Freehold Towns

(as per plan)

•  Accent steel metal roofs, as per plan

•	Superior 2” x 6” wood and steel beam exterior construction

•  Exterior walls insulated to R22; basement wall insulated to R20 (8” from finished basement floor), with R60 insulation in ceilings

•	Spray foam garage & porch ceilings above habitable space

•	All subfloors to be sanded and fastened with glue & screws

•	Roof sheathing ⅜” plywood or equal material

•	High performance engineered flooring system “I” joists

•	Stucco accents & gables as per plan

•	Maintenance free aluminum soffits, fascia, eavestrough & downspouts

•	Vinyl clad casement windows on all elevations (front elevation windows may have upgraded internal grilles as per plan)

•  Basement windows to be vinyl framed sliders. All windows are double pane thermal glazing. Operating windows have screens

•	All doors and windows to be fully caulked

•	Steel clad insulated front entry door(s) with glass insert

(as per plan)

•	9’ ceilings on main floor and 8’ ceilings on 2nd floor 
    are standard throughout

•	Sliding patio door(s) with screen, as per applicable plan

Electrical and HVAC

•	One carbon monoxide/smoke detector combo & strobe light on floors with sleeping areas

•	One smoke detector & strobe light on floors with no sleeping areas

•  One smoke detector & strobe light in every bedroom

•	200 AMP electrical service with upgraded panel

•	Heavy duty wiring for stove and dryer

•	White Decora switches and receptacles throughout.

•	Ceiling outlets with builder supplied fixtures for vestibule foyer, hallways, laundry, kitchen and breakfast, dining room, library/den, and all bedrooms (as per plan)

•	Pre-wired for television in family room and computer lofts (where applicable)

•	Electrical receptacle above fireplace for television

•	Telephone rough-in to kitchen

•	Door chimes

•	Security system rough-in provided on main floor

•  1 network location of choice

•  2 USB charging outlets, 1 in kitchen, 1 in Master Bedroom

•	Three (3) electrical wall outlets and up to two (2) ceiling outlets for future garage door openers

•  Rough In for future electric car

•	Rough-in for central vacuum system piped to garage

•	Weatherproof exterior electrical outlet in eaves for future festive    lights

•	Forced air natural gas heating with high efficiency furnace

•	Gas fired hot water tank on rental basis complete with programmable thermostat for energy conservation

•	HRV included

Laundry Room

•	Laundry tub provided

•	Hot and cold laundry taps for washer

•	Outside vent for dryer

•	Second floor curb-less laundry room equipped with floor drain

Spectacular Interior Finishes

•	13”x13” Ceramic/porcelain tile flooring (as per builder’s samples) in vestibule, main hall, powder room, kitchen, laundry room and all bathrooms (as per plan)

•	3¼” stained hardwood flooring throughout main floor from builder’s standard selection (excluding tiled areas)

•	Berber carpet is standard throughout (except in tiled & hardwood area)

•  Berber carpet is standard throughout (except in tiled area) in Freehold Towns

•	Choice of one paint colour on all walls, white paint colour on trim throughout

•	One (1) coat of primer and one (1) coat of quality latex paint on 
all interior walls

•	One (1) coat of primer and one (1) coat of quality semi gloss paint on all interior doors and trim

•	Textured ceiling with 4” smooth borders throughout main and second floors except for kitchen, bathroom, and laundry room ceilings which are to have smooth finish

•	Trimmed archways and passthroughs throughout (as per plan)

•	2 panel interior smooth doors throughout. Freehold Towns: Aristocrat 4" baseboard, 2 3/4" casing and Colonial doorstop

•	Satin nickel lever interior hardware

•	Elegant main oak stair, with solid oak handrails, posts and 
    pickets in natural finish

•	All duct joints in basement screwed & taped

•	Wire shelving in all closets

Gorgeous Kitchen and Luxurious Bathrooms

•	Oversized custom cabinetry in kitchen complete with extended upper cabinets with post formed Formica countertop, from builder’s samples

•	Custom cabinetry in bathrooms, with post formed Formica countertop, from builder’s samples

•	Double stainless steel ledgeback sink in kitchen with single lever upgraded MOEN pullout faucet

•	Exhaust hood fan over stove area, vented to exterior.

•	Dishwasher rough-in provided includes electrical and plumbing only with space for dishwasher

•	Single lever MOEN faucets with pop-up drains in all bathrooms.

•	Drop in white oval sink in all bathrooms

•	Quality white fixtures in all bathrooms

•	Main bathroom and ensuite (as per plan) to include fully tiled tub enclosure including ceilings, where applicable

•	Mirrors in all bathrooms

•	Scald guard temperature balance control faucets to all tubs/shower enclosures

•	Water saver toilets

•	Recessed waterproof shower pot light at separate tub and or shower enclosures

•	Master ensuite to have oversized acrylic oval tub with ceramic tile backsplash to 16” minimum in height, and deck mounted faucets, where tub and shower are separate

•	Separate oversized showers to be fully tiled (as per plan)

•	Powder room to have white pedestal sink (where applicable).

•	Rough in 3-piece bath in basement (as per plan)

•	Standard seamless glass shower enclosures (as per plan)

•	Curtain rod assembly for shower stall in Freehold Towns

Exterior Details

•	Exterior hardware to comprise of decorative black finish exterior lights and stone cast house numbers, and brushed nickel finish grip set(s), on all exterior doors

•	Two (2) exterior hose bibs, one at the rear and one in garage.

•	Roll up garage door with glass inserts

•	Maintenance free aluminum columns, posts and railings (as per plan)

•	Walkway to porch at front entry

•	Fully graded to municipal requirements

•	Builder will provide a 2-coat paved asphalt driveway included.

•	Fully sodded lot

TARION Warranty Corporation Coverage

•	7 years - major structural defects

•	2 years - plumbing, heating, electrical systems and building envelope

Specifications subject to change

without notice.  E. & O.E.

2018