Lot #22

Unit #7–17 Cheltenham Rd.

Neptune 2

Occ.: March 13, 2009

Christopher Trottier

Home 734-8786

March 17, 2009: Chris called to report that the GFI in powder room trips when fan is turned on. Gord from Marnoch will send an electrician there today.

April 9, 2009: Service scheduled with Allandale for April 20/09

May 25, 2009: Allandale is scheduled to do service work today. Replacement of 2 drawer and fronts and 3 doors. Completed

May26/09:  Peter was here to do 30 day repairs.  w/o 2712 to Pollard to replace/repair patio door track/it’s broken. Pollard has made several attempt to access home to do service work. See homeowner’s file.

June 30, 2009: PO 33242 to Marnoch to re locate electrical box.

July 6, 2009: Chris call to report that there are cracks on shower grout and the tub and wall move. Peter is going there to check it out. Peter caulked around shower and the movement was not anything to worry about –very minimal.

July22/09:  owner called said Pollard has been here and replaced patio door sill but he now needs it caulked.  I pgd Duey/he called back said he was going here this afternoon.

Peter is to install trim around patio door as it was replaced by pollard on July 27/09 Pollard has made several attempt to access home to do service work. See homeowner’s file.

Aug11/09:  Peter was here and completed painting from his drywall repairs from patio door replacement

September 23, 2009:  Chris called to report a leak at bottom of toilet. W/O faxed to Canbarr

November 16, 2009:  30 day service completed.