Lot # 24

Unit #8 – 17 Cheltenham Rd.

Venus 2

Occ.: March 13, 2009

Close: August 13, 2009

Robert Hitchin

Home: 252-2575 / 794-4086

April 9, 2009: Service scheduled with Allandale for April 18/09. Completed

July 10, 2009; Owner called to report a blockage in downstairs toilet. W/O 2777 to Canbarr. Completed. NOTE This is the same unit that was tended to with the same problem about 28 to 30 days ago. Apparently sanitary napkins were found on both situations.

July31/09:  owner called Monday July 27/09 has leak at furnace.  Yanch was here and found that the condensate line was leaking.  Malcolm went July 28/09 to do drywall repairs.  Peter went and pulled back carpet and put fan in to dry up the area.  We need to go back remove fan and check if carpet is okay or needs to be replaced.  I have called this owner to try to setup another day but there is no v/m on any of the numbers we have.

Aug7/09:  Greg went here today.  He did not pick up a fan/he said he didn’t see one there.

PO33026 to Bayfield to supply 12 square feet of underpad for bedroom.  They are to supply and install it/then put back carpet. PO cancelled as Bayfield notified us that the owners have supplied and installed their own hardwood.

PO33020 to Pollard for screen 21 ½ X 45