Lot 138

18 Fenchurch Manor

Sparrow

Close Date:  May 15/08

Bojun Shen

Jinning Chen

HM 416-290-6999

Cell 416-525-3421

June 5/08: homeowner called concerned about maybe water leaking/nears noises not sure what it is.  Peter went here/owner doesn’t speak English well/never owned house before/Peter explained settling noises/checked for leaks/didn’t find any problem here.

July15/08:  PO29268 to Cdn. Whirlpool to repair ensuite tub/damaged from get go.

Sept25/08:  booked 30 day repairs for Oct14,15 1/2day.

Oct10/08:   Jim was here and completed 30 day repairs.

Oct15/08:  Don was here this morning to check garage floor as per Jim’s request.  Kim is sending paperwork to TechCrete to repair cracks IN FLOOR ONLY… PO# 29449

March 23, 2009: Owner called concerned with the garage floor sloping on side and door not closing all the way down, leaving gaps on sides. Peter went to check and the garage floor is with in guide lines acceptance.

June8/09:  w/o 2801 to Canbarr to remove perforated pipe from sump pump discharge and add splash guard and 45 deg elbow

June 19, 2009 PO 33231 Dobinson to remove pipe from sump pump discharge/install extension and 45 deg elbow.  Ensure splash guard is aligned with discharge pipe.

Aug5/09:  Malcolm was here to address year end list.