Lot 213

31 Thicketwood

Sandpiper

Occ.: Jan.29/09

Closing date: June 29, 2009

Jason Tizzard

Heidi Legrow

705-790-2021 (cell)

416-458-9023

Feb. 9/09: Owner called to report that there is not electricity in the bedroom. W/O # 2343 faxed to Monarch Electric. Also that overhead door is not balance.

Feb. 10/09: Jason called to find out if electritians will be resolving electrical issue in bedroom. Gord to give him a call by the end of the day today to set something up. Greg will go today to adjust the overhead door. Electrical issue has been resolved as per owner

Feb. 11/09: Owner left msg. to report that sump pump is working non stop and water coming in instead of out. He also sent an e-mail stating that the overhead door was not adjusted and does not lock unless it is connected to the opener. Loraine called Jason to let him know that Don will be there today.   Don said send PO31097 to Dobinson to install window wells (left side of house) and dig trench to divert water away from house.

April 6, 2009: Owner called to report a leak in the garage. Teresa left msg. on Jason’s cell.

April 9, 2009: W/o 2617 faxed to Barts Roofing to replace shingles

May26/09:  booked 30 day repairs for June 11,12/09

June12/09:  Greg is here doing 30 day repairs.

w/o 2813 to Canbarr to replace basin drain assembly.  Completed

w/o 2814 to Aya to adjust drawers in kitchen they are hard to open/and to do touchups on cabinets there are scratches in various areas. Completed

w/o 2812 to Dominion to add fillers over powderoom window.

w/o 2817 to Westwood Garage doors to replace panel upper far right/cracked. Completed

October 2, 2009: Jason called to inform us that Westwood replaced the panel but the door sags in the middle. W/O faxed to Westwood to repair.

October 2, 2009: Owner called to let us know that his neighbour has the garage door opener to open the door let the painter do painting as his doors are scheduled to be painted also. His neighbour has an appointment and may not be there to even let the painter in his own house to do painting

October 14, 2009: Service scheduled for Oct.19/09