Lot 230

18 Shalom Way

Eagle

Close Date:  Aug 27/07

APR1/08:  HOME ON THURS & FRIDAYS TO SCHEDULE WORK THEN IF POSSIBLE

Deborah Walsh -- Work: 905-669-2247 ext. 925

Michael Walsh (647-408-4773)

(H) 252-2655

Sept 10th/07:  homeowner called to report leak into kitchen globe light / Don checking this out ?? plumbing stack / Don called Tom Sturge re: kitchen cabinet doors and vanity doors are not installed

- Kim tried to reach homeowner but got no answer re: Canac to install doors on Tuesday Sept 11th /  Canac will go in between 11 am and 2 pm – Kim called again at 4:14 pm and spoke to homeowners son to let them know that Canac is scheduled for Tuesday

Oct3/07:  Serena/Canac called for customer number today

Oct18/07: cust can’t get both fireplaces going with switch.  w/o 1635 to Marnoch to wire fireplaces.  Also sent fax to Charlie/Dobinson to add gravel to driveway in front of garage door large sink area.

Oct26/07:  rec’d back paperwork from Dobinson they repaired driveway & sod

Nov 21/07: Peters notes:  oak hardwood was installed ‘raw’ as per instructions to Bayfield so Zab would stain to match oak stairs – oak is dirty and splattered with drywall mud – as per Don Darby Kim sent Purchase Order # 24240 Bayfield Carpet to replace nosings and supply and install natural pre-finished oak on both landings (Jim Hankin to measure up today) / Kim called CANAC Kitchens re:  all gables in entire house are UNFINISHED – as per Mark in Service he will send someone to have a look this afternoon

Nov 22/07:  Purchase Order #24241 Bayfield Carpet to replace black marble header

Nov30/07:  rec’d back w/o 1635 from Marnoch they have now completed repair here.  (Fixed fireplaces)

Dec 17th/07:  Kim spoke to Jim Hankin and the hardwood for the stair landings is in now / Kim called homeowner (Michael) and he will call to set up appt with Jenny for installation date

Dec 19th/07:  Bayfield scheduled to complete hardwood today

Dec 20th/07:  Kim l.m.. for Jason to go in to put trim back on at landing

Dec21/07: Jason replaced trim

Feb29/08:  homeowner called no heat/red light flashing/she’s at work and no one will be there til 4:00pm.  She is calling Innisfil Air direct.

March 7, 2008:  Kim sent Work Order # 1909 to Innisfil Air re: installation of upgraded energy star furnace for Thursday April 3rd/08 / Purchase Order # 26435 to Newport Interiors to top-up attic insulation to R50 (Newport will set up with homeowner)

March 10, 2008:  NewPort booked for April 3/08 to top up insulation to R50

Apr1/08: homeowner said got call from Newport to do insulation/homeowner says this was already done/I called Amanda/Newport and told her.  Innisfil Air is setup for Apr3/08/homeowner requests after 10:00 am if possible.

Oct9/08:  booked Oct23,24 and maybe Oct30/08 if needed.

Oct29/08:  Peter completed work here.  w/o 2074 to Marnoch Electric to fix 3 way switch in entry/not working.

July21/09: rec’d back w/o 2074 Marnoch – COMPLETE

Aug24/09:  we rec’d 2nd year end list/only item is a cracks in foundation that are leaking water.  PO33036 to Tech Crete to epoxy cracks.