Lot 104

Osprey

2178 Nevils Street

Closing date Jan 30, 2009

Barbara Lois & Peter Marcolgliese

Home: 705-436-6924

Cell: 905-726-0712

petermarcogliese@yahoo.ca

Feb4/09:  homeowner said they have wrong kitchen installed.  I arranged with Tom Sturge and Don to go in here tomorrow Feb5/09 at 10:00 am to look at this.

Feb5/09: PO faxed for one closet door pane 33 ¾ w x 78 ½ w

Feb9/09: Owner l/m wanting to know if painters will be in her unit today and to report that lower step in garage going to house has come off. Teresa called Zab and he sent one of his painter to finish work.

Feb 10/09: Malcolm fixed the step in garage and did drywall repairs.

Feb 11/09: Leak in master bedrm, spreading and dripping on the carpet. Malcolm is going to check it out.

Feb 13/09: Painters were to go and finish painting. Teresa called Zab and he rescheduled for Tue. Feb 17. Owner was notified.

Feb.17/09: Owner called re roof. shingles and as to when would be repaired. Teresa l/m  that the roofers are going to fix shingle with in days.

May 20, 2009: W/O to Canbar to replace taps in kitchen. Completed

Feb23/09: Owner want to know when the carpet runner will be installed and when is the broken window will be replaced. Teresa informed him that she will contact the trades. W/O #2654  faxed to Bayfield Carpets. Runner installed March 3/09

Mar. 2/09: Malcolm is going to start with repairs to the master bdrm ceiling.

Mar. 3/09: Owner called re repairs to mst. Bdr. Ceiling, window, carpet runner and painting. Scheduled for March 6

March 10, 2009: Carpet runner installed on March 3, 2009. Also Malcolm was at the house and finished the ceiling repairs in Master Bedroom, PTU throughout and installed the railing

March 12, 2009 Owner was advised that Pollard Windows will be there on March 25, 2009 between 11-4

March 19, 2009: Owner called to schedule date to finish ceiling repairs. Scheduled for March 30.

Mar25/09: I called homeowner to schedule Malcolm for whole day on the 30th to try and finish her 30 day list as most items are now done.

Apr1/09:  I called homeowner to schedule for tile repair ( 2 chipped tiles @ familyroom/hall).  She said Malcolm was here today and has fixed it.  All of her 30 day

list is now complete.

April 6, 2009: Owner called to report that front steps are shifting and sump pump pipe is not connected on the outside.

April 8, 2009: Owner called re sump pump drainage/ exterior pipe

April 15, 2009: Fax rec’d from Dominion re. roof repairs request from Feb. 17/09 Completed

May19/09:  homeowner called said they want us to check their roof as they are either missing shingles or the wrong colour was put up on west side @ back.  Also missing keys for washrooms? and front step wobbly.  I sent message to site for them to check it out.

May27/09:  w/o 2714 to Dominion to replace missing shingles at front of house as per Malcolm Completed

July 2, 2009: Owner reported leak in garage Greg is going to check.

August 27, 2009: Owner left msg. regarding the sod and dirt pile next to their house that is blowing with the wind and will make a mess.