Lot 107

2188 Nevils Street

Osprey

Occ.: March 20, 2009

Karen Dunbar & Roan Campbell

Home: 705-431-9412 – Aug17/09 – this number is not in service

Work 905-459-2500 ext.5607

Cell 416-436-6982

April 15, 2009: Fax rec’d from Dominion re. roof repairs request from Feb. 17/09 Completed

July16/09:  Malcolm went here yesterday to try to install patio door screens but the patio door is 77” and the screens are 77 ½”.  I spoke to Pollard today and they are going to go here July 20/09 to either install screens if they can or they will measure and then order ones to fit.  Owner will be home after 2:00 pm and to access the patio door they have to jump up onto the deck.

July 28, 2009: W/O 0476 to JWD to repair replace French door in dining room

W/O 2800 to Bayfield to repair/replace ensuite floor tile at tub. Completed

Aug12/09:  Greg was here to do 30 day list.

w/o 2878 to Binnie’s to address wobbly front stairs.  w/o

2877 to JP Decorating to sand & clearcoat all oak.

w/o 2879 to Royal Overhead Doors for garage door requires 2 hinges fastened. Completed

PO33029 to Pollard to replace glass (fixed unit) centre window in livingroom.

w/o 2881 to Mega Drywall to repair vent on wall in stairs (huge hole)

October 14, 2009: Service scheduled for Nov. 12/09