Lot 178

Eagle

2207 Batters Loop

Occ. Feb. 3, 2009

Jennifer Spence & Andrea Johnson

Home: 705-436-2705

Work:  905-895-3928 ext.228

Feb9/09: Owners called regarding washer hose hook ups not been the right ones. Don will look into it tomorrow.

Feb10/09: Owner left msg to report that fireplace is to be at the corner in family room and not in the middle. Teresa called them back to let them know that all paper work from sale states that fireplace is to be in the middle not on corner. Owner is to call sales with this issue. Doug called us to let us know not to change location until he direct us to do so.

As per Don w/o 2355 to D&S to finish potlights one exterior/exterior coach lite not working and to replace 1 bulb in 2 piece as its blown.  Also w/o 2354 to Canbarr to repair 90 leaking at water meter on Canbarr’s side. Completed Don also addressed her issue re: can’t hook up washer/she didn’t put the hoses onto her machine. She doesn’t have plugs in basement as it is unfinished.

Feb11/09: Jennifer called to let us know that Aya Kitchens is there but the plumbers are not to remove the sinks in kitchen and bathroom. Adam has set this up.

She also called in the pm to ask us to set up for the electrician to install the hood fan and to get the plumber back to re install the sinks. Teresa called Adam and he left msg with Art to re install sinks and has set up electrician to install fan.

Feb. 18/09: Owner called to find out when the remaining work will be completed ie. backsplash, drywall touchups, window cranks.

Feb. 25/09: Work order # 2658 faxed to Bayfield to install backsplash. Owner advised.

Feb27/09:  rec’d confirmation that backsplash is now installed. Completed

March 6/09: Alex is taking window cranks and floor heat vent cover and caulking the bathroom sinks.

Mar9/09:  w/o 2667 to JP Decorating for paint touchups throughout and to clean up paint/stain splatters from behind fireplace/apparently it’s a mess.

March 10, 2009: Rec’d a fax from Bayfield Carpet stating that they informed owners to get longer screws for the phone plate to accommodate gasp between tiles and cover plate.

March 12, 2009: Jennifer called in regards to the stove tripping the braker and sparks come out of it and there is something wrong with the washer and dryer connections. Dave from D&S went to check and there is nothing wrong with the wiring of any of these.

March 30, 2009: Jennifer called to report that there is no hose bib at the back of front of house. W/O #2698 to Canbarr to install. Completed Apr. 24/09

April 13, 2009: Jennifer called to find out when we are going to finish the fireplace and

other PTUs.

April 15, 2009: Fax rec’d from Dominion re. roof repairs request from Feb. 17/09 noting that there is no wind damage visible.   Homeowner called to ask when are we going to finish her work.  I called back and she said we need to do caulking at one of the sinks that was missed/garage door needs to be adjusted.

April 20, 2009: Owner left msg. towel rack and toilet paper holder are missing. W/O 2391 faxed to Bayfield Carpets to install. Completed  Malcolm caulked sink in guest bathroom.

April 22, 2009: W/O #2639 faxed to Royal Overhead Doors to adjust garage door. Completed

Apr27/09:  rec’d w/o 2391 from Bayfield that ceramic fixtures are now installed.