Lot 184

2187 Batters Loop

Eagle

Occ.: May 19, 2009

Charanjit Shingh Sekhom

Home: 416-651-7087

Work: 416-651-1084

Cell: 416-578-4741

Key in file

June11/09:  Malcolm picked up homeowner’s key from sales and it is now here in service

Aug5/09:  Malcolm was here/service has key/owner not yet moved in working on his 30 day list.  w/o 2992 to D&S Electric for light not working in basement/breaker #20 keeps blowing and light by powder room not working.  Malcolm needs to go back to paint garage man door as he patched it and put in floor vents for master bedroom.  Joan/site looking into broken window over garage from PDI.

Aug17/09:  Malcolm was here put vents in master bedroom.  Put mullen strip on livingroom window and painted garage man door.  PO33041 to Pollard to replace cracked window over garage fixed unit 21 ¾ X 41 3/8. COMPLETED Oct.7/09