Lot # 185

2183 Batters Loop

Eagle

Occ.: May 12, 2009

Jatinder Singh Gill

Home 905-216-2226

Work: 416-876-9371

Cell: 416-875-9371 (Jatinder)

Tenant: David – 294-0278

Key in file

May 7, 2009: W/O to Royal Overhead Doors to adjust garage door as they don’t touch concrete slab. Completed

Aug5/09:  Malcolm was here to do 30 day repairs.  w/o 2987 to Bayfield to install transition strip in livingroom from hardwood to carpet. Completed  Also two accent tiles not installed in master washroom. Completed per trade

PO33022 to Pollard to replaced fixed unit in upstairs bedroom/scratched. COMPLETED Oct 7/09

w/o 2986 D&S Electric for plate missing on xmas light switch and to check breaker as it keeps tripping when lights are turned on.  Missing light bulb at entrance at front door.

September 18, 2009: Malcolm repaired molding in bathroom window as it was damaged by tile setter.

October 6, 2009: Tenant called to report a sewer back up. Teresa called Ritchie from Canbarr and he will contact tenant.