Lot 2022

1449 Rankin Way

Horizon

Occ.: May 7, 2009

Ken Duman & Lindsay Paine

Home 431-6068

Work: 726-6537 Wxt 265

Cell 795-1726

Email: kenduman2006@yahoo.ca

April 25, 2009: Mega Drywall to finish skim coating picture window in kitchen and drywall repairs  at door bell. Completed

May 15, 2009: Owner reported a hole on the floor under carpet at walk-in closet and basement windows are not secured.

May25/09:  John/site to go by tomorrow morning at 9:30 to secure basement windows.  I l/m on v/m for homeowner to let them know to be there.

May26/09:  As per JP/site w/o 2715 to Dominion to install soffit @ fascia @ back of garage above mandoor.

July 6, 2009: Owner called to report water in basement. Malcolm went to check and found that owner was washing slabs and water got in from between slabs as there is wood instead of concrete This is to be scheduled to do-form filled.

July13/09:  rec’d back w/o 2715 from Dominion – COMPLETED.

Aug6/09:  w/o 2995 to McKick Masonry to reset brick @ front corner shared by this unit and 2023.

September 14, 2009: All service work has been completed