Lot 48

1416 Rankin Way

Seahawk

Close Date:  Nov28, 2008

Fengkai Luan

Yue Xu

HM 705-436-5183 – Peter

Dec 3/08:  homeowner called wanting to know about backsplash.  I spoke to Jim Hankin/apparently the backsplash was not selected until Nov 30/08 and the tile is now on order.  I explained situation to homeowner and he is aware it may be a few more weeks…

Dec 4/08:  Work Order# 2485 Innisfil Air :  gas line for stove coming up through floor – homeowner cannot push stove against wall

Dec16/08:  homeowner called Bayfield cannot do carpet runner as stairs are not yet varathaned.  I spoke to Zab and he is going here tomorrow around 9:00 am to do this

Dec 17th/08: Purchase Order # 31229 to Bayfield Carpet to replace floor tile in laundry room under the laundry tub * instructions to call Art at CanBarr to remove laundry tub.  JP Decorating was here today and did stain stairs.  Jim went and they have a piece missing at bottom of stairs (he thinks its quarter round) he is picking a piece up and staining it same as stairs.

Dec29/08:  homeowner sent email/shower valve in ensuite bath leaking.  Kim called Art/Canbarr who said he’ll go repair.

Jan13/09:  homeowner called said switch for exhaust fan in powderoom is not working.

w/o 2324 to D&S Electric.

Feb.2/09: Owner called to report that the ceiling in laundry at light requires painting as there was a leak.

Feb. 10/09: Owner called re fax he sent with deficiency list.  Teresa told him that if he submitted a list with Tarion we will have a deadline to comply by to resolve all issues. Teresa checked Tarion to see if he had sent his list and he had not submitted to Tarion at the time.

Feb. 20/09: Teresa left msg. to see if we go in and do some service work.

Feb. 25/09: Peter called to thank us for doing a good job and to find out when the rest of the issues will be resolved. Teresa spoke with him and advised him to wait till year end to do caulking as house will still settle.

Apr9/09:  I setup for Peter to go in here Apr 20,21/09 to finish a ceiling repair he started and then to put up light fixture he took down.

Apr22/09:  Peter was here and did homeowners 30 day list.  PO32689 to Pollard for 34” LH swing door for garage to laundryroom/damaged.  Zab still has to do exterior painting of garage door.  Don took note on issue of doghouse for fireplace and will speak to Heljar and John about this one.

May6/09: We rec’d door from Pollard today for laundryroom to house.  Site is helping us out so I setup for John/site to go in here tomorrow morning to install as homeowner will be there.

May 7, 2009: Peter called to say that the paint from ceiling repair in laundry room is the wrong colour and that the basement window is broken. Site guys were there this morning to change door told him that it need to be changed. Teresa sent e-mail to John DA. The window will not be replaced but repaired as per John. Teresa left msg. with owner.

May8/09:  rec’d confirmation from site that they have installed the laundryroom door.

June17/09:  PO33077 to Mega Drywall to drywall only (no taping) in large room in basement (re: compensation as per Karen Hansen for fireplace alcove). Completed

January 5, 2010: PO issued to D & S Electric to wire one room and bathroom in basement as per compensation for fireplace alcove.