Lot #50

1424 Ranking Way

Robin

Occ.: September 8, 2009

Matthew Nomacatcat

Home: 705-294-1818

Cell: 416-520-4541

E-mail: matthew.namocatcat@1cbo.com

September 9, 2009:  Matt sent an email re HRV and basement window. Teresa forwared the email to Todd at site.

Matt called later in the day to report that  A/C has to be connected and to thank us that  issues on email were rectified. W/O sent to D & S Electric

September 10, 2009: Matt called to report a leak in basement that may be coming from the pipes above ducting. W/O sent to Canbarr.

October 14, 2009: Service scheduled for Nov. 23/09

November 3/09: PO sent to Bayfield to repair/replace hardwood with bad gauges from the PDI. Completed