Lot 94L

Raven

2208 Batters Loop

Closing date: Jan. 30, 2009

Carmelita Marsden

Home: 431-6928

Work: 416-736-5959

carmelitam-ca@hotmail.com

Key in file

Feb.9/09: Owner called to report water in basement, insulation along the wall is wet and no hot water in shower stall. Greg will go in this morning to investigate.  Greg called said he needs plumber/leak is from kitchen drain not being connected.  I called Art/Canbarr he says it must be as it had to be for occupancy.  Told him Greg is here and that is what he found/Art to locate someone and send them over. Greg brought over heater to dry up dampness. Also a piece of insulation will have to be replaced.

Feb13/09:  I spoke to homeowner she wanted to know if we would change to shower in ensuite as it’s too small for her/told her Pratt doesn’t do renovations.  I also l/m today to call us so we can have someone go in and put back insulation in basement.

Feb. 19/09: Owner’s sister left msg regarding the fan that is till on in the basement wanting to know if she can shut it off. Teresa left msg. asking if we can go in today to get the fan and replace the insulation.

March 12, 2009: Carmelita left msg. regarding the shower stall and that shingles have blown off. Teresa called her at work and she was in a workshop today. Teresa also left msg. with sales in regards to paper work re shower stall and tiles as there is none in her file.

April 6, 2009: Carmelita called to let us know that shingles have flown off roof. W/O faxed to trade

April 9, 2009: W/O #2616 faxed to Dominion Roofing to replace shingles. Completed

April 27, 2009: Carmelita left msg. that there is a sink hole between the garages and on the driveway.

May 13, 2009: Owner called asking for screen. Package has been released but it is not on site. PO to Pollard to supply another screen pkg.-Completed

May26/09:  homeowner called again about her screens/told her on order and Pollard will call her when they are in.  I booked 30 day list for June 11,12/09.  Received notice from Pollard that screen package should be delivered here in service for June 2/09

June2/09:  rec’d screen package from Pollard today/I called and arranged with owner to go in tomorrow to install them

June12/09:  Peter is here doing 30 day list.

w/o 2808 to D&S Electric to replace thermostat/wrong one installed?/ Completed

w/o to Aya re: powderroom side splash has damage. Completed

w/o 2810 to Dominion for fascia at front of house is buckled and between this unit and 94R there are missing shingles.

w/o 2816 to Pyramid to repour at garage/crumbling away.

June15/09:  w/o 2819 to JP Decorating to do both interior and exterior painting and to remove paint on hardwood.

w/o 2820 to D&S Electric to fix basement lights not working. Completed

W/O 2760 to Binnies to break concrete before Pyramid does work.- Completed

October 14, 2009: Service scheduled for Oct.15/09