Lot #98

2166 Nevils Street

Starling

Occ.: July 29, 2009

Frank Cosentino

Home: 905-264-2906

Appliances.

Key in file

Aug17/09:  owner called has water in basement/Malcolm was here/brought fan.  He thinks O pipe may be blocked.  Malcolm is still investigating this

Aug27/09:  owner had called again about water in basement/Wendy went here and did water test for 25min/no leak in foundation however water did come into sump pump pail indicating no problem with weeping tiles.  The owner does have a fan (ours) and windows are open.  There was very little condensation here compared to 2164 Nevils

Sept1/09:  Canbarr went here today to check on leak.  He said he can’t find any problem but said he noticed that shingles are all buggered up on the roof.