1266 Lowrie St, Innisfil Outstanding items from year-end list per owner Nov 23, 2009

- The front step is full of large chunks of concrete.

- The louver outside the bedroom window is falling out.

- The lock and handle on the entry door are loose and move all around.

- Insulation and poly are pulled out of the joist space where venting exits the house. Please reinstall properly.

- A couple of the interior door handles were changed by Pratt Service and do not match the others.