Lot 233

1980 Prince Court

Blue Jay

Occupancy Date:  Mar 31/08

ENERGY STAR PACKAGE

Norman Chan – 705-812-3628

Shannon Chan

Cell 705-241-8202 – USE THIS NUMBER

Apr7/08:  homeowner called re: stuff to be finished.

Apr8/08:  homeowner left key in GFI for Don to go in and do some work here.  Garbage in registers, can’t fit washer and dryer into laundry room etc.

Apr9/08:  I l/m on v/m for homeowner to please leave key in GFI for Don to go in tomorrow and finish work here. Don’s notes re: elevated platform is separate for washer /dryer – sump is under the dryer platform /

April 14, 2008:  Jim booked for today / speed crete floor at lower hallway / looking at ‘run’ in berber carpet /

Apr21/08:  homeowner called said a/c not hooked up/sent fax to Marnoch Electric with contact info to arrange this.

July28/08:  homeowner called today wanted to know when work is being finished so he can have the energy test done again/booked Aug 11,12,13,14/08 for 30 day repairs and Norman says crawl space was not sealed/door @ garage to house not sealed and gap at front door/that’s why it will not pass test ????

Aug 13/08:  Don will meet with homeowner to discuss a couple of issues re:  platform over sump pump / basement bathroom – wants toilet moved

Aug 18.19.20.21.22/08:  Peter and Don in for repairs

Sept 23/08:  Kim l.m. that AYA Kitchens is trying to get access.  Aya called me for customer info/I l/m back on v/m with number.

Nov11/08:  Norman l/m overnite about issues with floor (tear in carpet) and bubble in kitchen floor/slanted ceiling fix causing basement exhaust fan not to work/outside light still not working/whole in garage to supporting wall???

Nov13/08:  Kim reviewed issues, some are new/setup for Don to go see him Nov24/08

Nov24/08:  Don was here w/o sent to Marnoch for outside light not working/Bayfield was sent PO to repair vinyl in kitchen floor (bubble)

March6, 2009 Owner called to report that the caulking around the tub is coming off. Completed March 10, 2009

May 29, 2009: P/O 27583 fax sent to Bayfield Carpet to repair berber carpet back in April/08 (see file). Bayfield said that it was completed by owner states differently. Jennifer from BF is going to contact Norman today to do the job on Tues.

June 1, 2009: Bayfield book to do carpet repairs Tue. Jennifer from BF said that Norman mentioned bubbles on vinyl. They will check it out and let us know if PO is required. Completed

July24/09:  Greg was here to do year end list.  We booked for July 29/09 for Greg to finish sanding here.  PO33018 to Pollard for kitchen patio door (cracked inside frame) and frame also has large drill hole.  w/o 2964 to Marnoch to fix exterior light right side of garage not working.

July29/09:   w/o 2974 to Innisfil Air to move HRV unit over approx 9” as per Greg as it can’t be serviced/door won’t open for access.

July30/09:  Gord/Marnoch has dropped off new light fixture for homeowner.  We will drop it off to him/he doesn’t want installed as he put his own fixture up.  Pending Innisfil to move HRV unit over

Aug6/09:  George/Innisfil called said they went out to move HRV but it’s fine where it is.  The door does come off for servicing.  George said the owner is happy and understands that we are not moving it.

September 11, 2009: Norman called to report that the A/C pipe is still leaking. Innisfil Air was there previously and fixed one leak. W/O sent to Innisfil Air