Lot #67

1299 Corm St.

Seahawk

Occ.: March 27, 2009

Dourald Asmaro

Home: 647-302-2885

March 30, 2009: Owner called asking for screens and crank that are missing. Wife is home most of the time.

April 29, 2009: Owner called again re screens. Malcolm will go tomorrow.

July 2, 2009:  Owner reported a leak in the master bedroom ceiling. Greg went to check and there are shingles missing. W/O faxed to Vicourt Roofing to replace shingles. Completed

Aug19/09:  owner called about rail on exterior of house says there is a 3’ drop (dangerous) he says someone was there a few weeks ago told them they were replacing them and would be back but didn’t show.  I send message to Tom/site to look into as this is a construction issue not service.  Also Todd/site and Wendy asked me to setup with owner exterior painting/called but this number is not setup to voice mail.

September 28, 2009: Owner called re deficiencies. Teresa advised him that we did not receive a 30 day form and that he should send one even though is too late to submit with Tarion.

October 14, 2009: Service scheduled for Oct.30/09

November 24, 2009: Owner agreed to wait till year end repair to repair floor in master bedroom.