Lot 73

1323 Corm Street

Canary

Occ.: Feb. 20, 2009

Laura Stangret

Carly Fiore

Francisco Daniel Vasquez-Alegria

Cell: 416-951-8468

Cell: 416-573-5151 (Danny)

647-477-4588

E-mail carlyfiore@gmail.com

Homeowner installed openers -Warranty void

Feb. 25/09: Owner reported a leak in laundry tub and no power to stove. Peter will be in today to look into it.

Feb26/09:  Teresa spoke to homeowner and Marnoch Electric went here last nite and installed a breaker for the stove.  It’s now working.  w/o 2366 to Canbarr to fix or change up laundry tub as connections are cross threaded and tub is leaking.

March 2/09: Owner called to find out when is the Jaccuzi  access door, the weather stripping on garage and front door are going to be installed. Teresa e-mailed Joan.

March 4/09: Teresa spoke to Joan in which she was informed that site is looking after it.

March 27, 2009: W/O #2688 to Marnoch – outlet left of sink keeps tripping breaker. Completed

Mar30/09:  w/o 2377 to Innisfil Air to install gas line @ livingroom area for future fireplace (on original purchase agreement.)

June 4, 2009:  Owner called to request screen and to know when we are going to schedule 30 day repairs. Teresa sent e-mail to site re screens and cranks.

June5/09:  booked 30 day repairs for June 18,19/09

June23/09:  Greg was here to do 30 day repairs.

w/o 2832 to Canbarr to check ensuite shower as water pools @ drain.  Rich has informed the owner that the tub base is the one that is not leveled and the supplier is going to be contacted and they will go from there. The water does not pool that deep and it will not cause any damage.

w/o 2834 to Mega Drywall for ceiling seams and various workmanship issues throughout.  Completed

PO33090 to Simcoe Glass to measure & install glass for upper main bathroom

w/o 2837 to Bayfield for defect in bedroom carpet.  Completed

w/o 2835 to Aya Kitchens to colour the cabinets/marks on them.

w/o 2836 to JP Decorating to do exterior painting.

July2/09:  rec’d email from owner on June 29/09 about drywall repairs that were suppose to be done by Mega on June 29/09 but they didn’t show.  Turns out owner said key was with sales but it wasn’t turned out JP had key.  Mega did get in June 30 for repairs.  As far as the shower goes Canbarr was in and they are deciding what to do with shower.  Teresa did sent message to John/site who said even if shower needs replaced we will replace with same unit no upgrade or credit to homeowner.

July9/09:  owner called about screens/I spoke to JP and screen package is at trailer/Malcolm is going to deliver to homeowner.

July 17/09:  rec’d confirmation from Mega Drywall that they have completed their repairs.

July 23/09:  rec’d confirmation that Lake Simcoe Glass has now repaired the broken window in the mainbath

July24/09:  Pollard called re:PO32139 to setup access for them.  I had already did PO33090 to Lake Simcoe Glass and this is complete.  I spoke to Pollard they said they would cancel PO32139 which was issued by John/site.  I called Lisa and she will make sure this doesn’t get paid in case it comes thru..

Aug13/09:  I setup for service to go in here Sept 10/09 to finish our repairs.  The only trade left to go in here is Mega Drywall.  Wendy is calling them and will schedule them for Sept 10 as well. Completed as per owner

August 28, 2009: PO sent to JP Decorating to paint drywall repairs.