## 100 Series RL
SCHEDULE "C"
PROJECT : | RATHWELL LANDING | [6 empty] | DATE : | 2020-04-01
SERIES : | 100 SERIES | [6 empty] | CONTRACT # : | S02-056
CONTRACTOR :
CONTRACT PERIOD :
Work Schedule # : | A - 7 | [6 empty] | April 1, 2020 to March 31, 2021
[8 empty] | SUBTOTAL | HST | TOTAL
STAGE | Underground | Services | Rough-in | Finishing | SUBTOTAL | 3/4" Conduit | Fixtures | COMPLETE
|  | Panel / Mtr. | Complete | Complete |  | for Bell & | Complete
Cable c/w
24 x 24 Box
Percentage | [5 empty] | 100% | 100 % | 100% | 13%
CODE | 240 | 240 | 240 | 241 |  | 243 | 247
MODELS
105 - Mann 3 BED |  |  |  |  | 0 | Included |  | 0 | 0 | 0
105 - Mann 2 BED |  |  |  |  | 0 | Included |  | 0 | 0 | 0
110 - Thomas |  |  |  |  | 0 | Included |  | 0 | 0 | 0
120 - Huntley |  |  |  |  | 0 | Included |  | 0 | 0 | 0
130 - Lewis |  |  |  |  | 0 | Included |  | 0 | 0 | 0
140 - Green |  |  |  |  | 0 | Included |  | 0 | 0 | 0
160-2 - Stanley 2 |  |  |  |  | 0 | Included |  | 0 | 0 | 0
NOTES: | Includes 2" Conduit to accommodate 200 amp service
9'-0" Ceilings INCL.
Includes Decora Switches & Plugs
Includes Dining Room Fixture
Includes "SILVER ROMA Fixture PACKAGE"
Includes Plug for Garage Door Opener
Includes additional cost of Arc Fault breakers to ESA Permits applied after May 1st. See attached list.
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras | [6 empty] | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS | CONTRACTOR PER :

## 100 Series DV2
SCHEDULE "C"
PROJECT : | DEERFIELD VILLAGE 2 | [6 empty] | DATE : | 2020-04-01
SERIES : | 100 SERIES | [6 empty] | CONTRACT # : | S02-042
CONTRACTOR :
CONTRACT PERIOD :
Work Schedule # : | A - 7 | [6 empty] | April 1, 2020 to March 31, 2021
[8 empty] | SUBTOTAL | HST | TOTAL
STAGE | Underground | Services | Rough-in | Finishing | SUBTOTAL | 3/4" Conduit | Fixtures | COMPLETE
|  | Panel / Mtr. | Complete | Complete |  | for Bell & | Complete
Cable c/w
24 x 24 Box
Percentage | [5 empty] | 100% | 100 % | 100% | 13%
CODE | 240 | 240 | 240 | 241 |  | 243 | 247
MODELS
105 - Mann 3 BED |  |  |  |  | 0 | Included |  | 0 | 0 | 0
105 - Mann 2 BED |  |  |  |  | 0 | Included |  | 0 | 0 | 0
110 - Thomas |  |  |  |  | 0 | Included |  | 0 | 0 | 0
120 - Huntley |  |  |  |  | 0 | Included |  | 0 | 0 | 0
130 - Lewis |  |  |  |  | 0 | Included |  | 0 | 0 | 0
140 - Green |  |  |  |  | 0 | Included |  | 0 | 0 | 0
160-2 - Stanley 2 |  |  |  |  | 0 | Included |  | 0 | 0 | 0
170 - Bassett |  |  |  |  | 0 | Included |  | 0 | 0 | 0
NOTES: | 9'-0" Ceilings INCL.
Includes Decora Switches & Plugs
Includes Dining Room Fixture
Includes "SILVER ROMA Fixture PACKAGE"
Includes Plug for Garage Door Opener
ENERGY STAR
Includes additional cost of Arc Fault breakers to ESA Permits applied after May 1st. See attached list.
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = 82.00 / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras | [6 empty] | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS | CONTRACTOR PER :

## 100 Series Extras
SCHEDULE "C"
PROJECT : | DEERFIELD VILLAGE 2 & RATHWELL LANDING |  |  | DATE : | 2020-04-01
SERIES : | 100 SERIES |  |  | CONTRACT # : | S02-All Sites
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 |  |  | April 1, 2020 to March 31, 2021
** PO REQUIRED **
Extra |  |  |  | Cost | HST | Total
13%
105 - Mann 2 or 3 BED | Walkout Condition |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  | 0 | 0
| Optional Gas Fireplace |  |  |  | 0 | 0
| Optional Basement Bedroom |  |  |  | 0 | 0
110 - Thomas | Walkout Condition |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  | 0 | 0
| Optional Gas Fireplace |  |  |  | 0 | 0
120 - Huntley | Walkout Condition |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  | 0 | 0
| Optional Gas Fireplace |  |  |  | 0 | 0
| Optional Kitchen #1 |  |  |  | 0 | 0
| Optional Kitchen #1 - Breakfast Bar |  |  |  | 0 | 0
| Optional 4pc Ensuite |  |  |  | 0 | 0
130 - Lewis | Walkout Condition |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  | 0 | 0
| Optional Gas Fireplace |  |  |  | 0 | 0
| Optional 4pc Ens. - 2 Sinks |  |  |  | 0 | 0
140 - Green | Walkout Condition |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  | 0 | 0
| Optional Gas Fireplace (Basement) |  |  |  | 0 | 0
| Optional 2-Sided Fireplace |  |  |  | 0 | 0
160-2 - Stanley 2 | Optional 3pc Basement Bath |  |  |  | 0 | 0
| Optional Gas Fireplace |  |  |  | 0 | 0
| Optional 5pc Ensuite |  |  |  | 0 | 0
170 - Bassett | Walkout Condition |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  | 0 | 0
| Optional 4pc Ensuite |  |  |  | 0 | 0
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras |  |  |  | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS

## 800 Series PST
SCHEDULE "C"
PROJECT : | PLACE ST THOMAS | [5 empty] | DATE : | 2020-04-01
SERIES : | 800 SERIES | [5 empty] | CONTRACT # :
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 | [5 empty] | April 1, 2020 to March 31, 2021
[7 empty] | SUBTOTAL | HST | TOTAL
STAGE |  | Services | Rough-in | Finishing | SUBTOTAL | Fixtures | COMPLETE
|  | Panel / Mtr. | Complete | Complete |  | Complete
percentage | [5 empty] | 100 % | 100% | 13%
CODE |  | 240 | 240 | 241 |  | 247
MODELS
801 - Sharpley |  |  |  |  | 0 |  | 0 | 0 | 0
804 - Manning 3 BED |  |  |  |  | 0 |  | 0 | 0 | 0
804 - Manning 2 BED |  |  |  |  | 0 |  | 0 | 0 | 0
805 - Delahunt |  |  |  |  | 0 |  | 0 | 0 | 0
810 - Kemp 3 BED |  |  |  |  | 0 |  | 0 | 0 | 0
810 - Kemp 4 BED |  |  |  |  | 0 |  | 0 | 0 | 0
815 - Hartin |  |  |  |  | 0 |  | 0 | 0 | 0
825 - Bradley 3 BED |  |  |  |  | 0 |  | 0 | 0 | 0
825 - Bradley 4 BED |  |  |  |  | 0 |  | 0 | 0 | 0
830 - Butler |  |  |  |  | 0 |  | 0 | 0 | 0
870 - Dennison |  |  |  |  | 0 |  | 0 | 0 | 0
NOTES: | Includes 2" Conduit to accommodate 200 amp service
9'-0" Ceilings INCL.
Includes Decora Switches & Plugs
Includes Dining Room Fixture
Includes "SILVER ROMA Fixture PACKAGE"
Includes Plug for Garage Door Opener
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras | [6 empty] | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS

## 800 Series RL Phase 2
SCHEDULE "C"
PROJECT : | RATHWELL LANDING Phase 2 | [5 empty] | DATE : | 2020-04-01
SERIES : | 800 SERIES | [5 empty] | CONTRACT # : | S02- 056
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 | [5 empty] | April 1, 2020 to March 31, 2021
[7 empty] | SUBTOTAL | HST | TOTAL
STAGE |  | Services | Rough-in | Finishing | SUBTOTAL | Fixtures | COMPLETE
|  | Panel / Mtr. | Complete | Complete |  | Complete
percentage | [5 empty] | 100 % | 100% | 13%
CODE |  | 240 | 240 | 241 |  | 247
MODELS
801 - Sharpley |  |  |  |  | 0 |  | 0 | 0 | 0
804 - Manning 3 BED |  |  |  |  | 0 |  | 0 | 0 | 0
804 - Manning 2 BED |  |  |  |  | 0 |  | 0 | 0 | 0
805 - Delahunt |  |  |  |  | 0 |  | 0 | 0 | 0
810 - Kemp 3 BED |  |  |  |  | 0 |  | 0 | 0 | 0
810 - Kemp 4 BED |  |  |  |  | 0 |  | 0 | 0 | 0
815 - Hartin |  |  |  |  | 0 |  | 0 | 0 | 0
825 - Bradley 3 BED |  |  |  |  | 0 |  | 0 | 0 | 0
825 - Bradley 4 BED |  |  |  |  | 0 |  | 0 | 0 | 0
830 - Butler |  |  |  |  | 0 |  | 0 | 0 | 0
870 - Dennison |  |  |  |  | 0 |  | 0 | 0 | 0
NOTES: | Includes 2" Conduit and 200 amp service
9'-0" Ceilings INCL.
Includes Decora Switches & Plugs
Includes Dining Room Fixture
Includes "SILVER ROMA Fixture PACKAGE"
Includes Plug for Garage Door Opener
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras | [6 empty] | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS

## 800 Series Extras
SCHEDULE "C"
PROJECT : | RATHWELL LANDING & PLACE ST THOMAS |  |  |  | DATE : | 2020-04-01
SERIES : | 800 SERIES |  |  |  | CONTRACT # :
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 |  |  |  | April 1, 2020 to March 31, 2021
** PO REQUIRED **
Extra |  |  |  |  | Cost | HST | Total
13%
801 - Sharpley | Optional Recreation Room |  |  |  |  | 0 | 0
| Optional Basement Bedroom |  |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  |  | 0 | 0
| Optional Kitchen 2 |  |  |  |  | 0 | 0
| Optional Kitchen 3 |  |  |  |  | 0 | 0
| Optional 4pc Ens. - 2 Sinks |  |  |  |  | 0 | 0
804 - Manning 3 BED | Optional Recreation Room |  |  |  |  | 0 | 0
| Optional Basement Bedroom |  |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  |  | 0 | 0
| Optional 4pc Ens. - 2 Sinks |  |  |  |  | 0 | 0
| Optional Kitchen Layout #3 |  |  |  |  | 0 | 0
805 - Delahunt | Optional Recreation Room |  |  |  |  | 0 | 0
| Optional Basement Bedroom |  |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  |  | 0 | 0
| Optional 4pc Ens. - 2 Sinks |  |  |  |  | 0 | 0
| Optional 5pc Ensuite |  |  |  |  | 0 | 0
| Optional 5pc Ensuite & Closet |  |  |  |  | 0 | 0
810 - Kemp 3 BED | Optional Recreation Room |  |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  |  | 0 | 0
| Optional 4pc Ens. - 2 Sinks |  |  |  |  | 0 | 0
| Optional 5pc Ensuite |  |  |  |  | 0 | 0
815 - Hartin | Optional Recreation Room |  |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  |  | 0 | 0
| Optional 4pc Ens. - 2 Sinks |  |  |  |  | 0 | 0
| Optional 5pc Ensuite |  |  |  |  | 0 | 0
825 - Bradley 3 BED | Optional Recreation Room |  |  |  |  | 0 | 0
| Optional Basement Bedroom |  |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  |  | 0 | 0
| Optional 4pc Ens. - 2 Sinks |  |  |  |  | 0 | 0
| Optional 5pc Ensuite |  |  |  |  | 0 | 0
825 - Bradley 4 BED | Optional Recreation Room |  |  |  |  | 0 | 0
| Optional Basement Bedroom |  |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  |  | 0 | 0
| Optional 4pc Ens. - 2 Sinks |  |  |  |  | 0 | 0
| Optional 5pc Ensuite |  |  |  |  | 0 | 0
830 - Butler | Optional Recreation Room |  |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  |  | 0 | 0
| Optional 4pc Ens. - 2 Sinks |  |  |  |  | 0 | 0
| Optional 5pc Ensuite |  |  |  |  | 0 | 0
870 - Dennison | Optional Recreation Room |  |  |  |  | 0 | 0
| Optional 3pc Basement Bath |  |  |  |  | 0 | 0
| Optional Gas Fireplace (GR/DR) |  |  |  |  | 0 | 0
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras
G - Invoices received without ALL proper documentation will be returned. |  |  |  |  | Builder Initials:
TERMS OF PAYMENT |  | 30 | DAYS | CONTRACTOR PER : | Contractor Initials:

## 1000 Series RL Phase 2
SCHEDULE "C"
PROJECT : | Rathwell Landing Phase 2 | [5 empty] | DATE : | 2019-04-01
SERIES : | 1000 SERIES | [5 empty] | CONTRACT # : | S02 - 056
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 | [5 empty] | April 1, 2020 to March 31, 2021
[7 empty] | SUBTOTAL | HST | TOTAL
STAGE |  | Services | Rough-in | Finishing | SUBTOTAL | Fixtures | COMPLETE
|  | Panel / Mtr. | Complete | Complete |  | Complete
percentage | [5 empty] | 100 % | 100% | 13%
CODE |  | 240 | 240 | 241 |  | 247
MODELS
1010 - Ferris |  |  |  |  | 0 |  | 0 | 0 | 0
1015 - Murry |  |  |  |  | 0 |  | 0 | 0 | 0
1016 - McCabe |  |  |  |  | 0 |  | 0 | 0 | 0
1016 - McCabe W/Loft |  |  |  |  | 0 |  | 0 | 0 | 0
1020 - Morgan |  |  |  |  | 0 |  | 0 | 0 | 0
1026 - Medley |  |  |  |  | 0 |  | 0 | 0 | 0
1030 - Nash |  |  |  |  | 0 |  | 0 | 0 | 0
1035 - Morrow |  |  |  |  | 0 |  | 0 | 0 | 0
1046 - Hazelwood |  |  |  |  | 0 |  | 0 | 0 | 0
1050 - McCaslin |  |  |  |  | 0 |  | 0 | 0 | 0
1086 - Steel |  |  |  |  | 0 |  | 0 | 0 | 0
NOTES: | 9'-0" Ceilings INCL.
Includes Decora Switches & Plugs
Includes Dining Room Fixture
Includes "SILVER ROMA Fixture PACKAGE"
Includes Plug for Garage Door Opener
Includes 2" Conduit and 200 amp service
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras | [6 empty] | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS

## 1000 Series PST
SCHEDULE "C"
PROJECT : | Place St Thomas | [5 empty] | DATE : | 2019-04-01
SERIES : | 1000 SERIES | [5 empty] | CONTRACT # :
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 | [5 empty] | April 1, 2020 to March 31, 2021
[7 empty] | SUBTOTAL | HST | TOTAL
STAGE |  | Services | Rough-in | Finishing | SUBTOTAL | Fixtures | COMPLETE
|  | Panel / Mtr. | Complete | Complete |  | Complete
percentage | [5 empty] | 100 % | 100% | 13%
CODE |  | 240 | 240 | 241 |  | 247
MODELS
1010 - Ferris |  |  |  |  | 0 |  | 0 | 0 | 0
1015 - Murry |  |  |  |  | 0 |  | 0 | 0 | 0
1016 - McCabe |  |  |  |  | 0 |  | 0 | 0 | 0
1016 - McCabe W/Loft |  |  |  |  | 0 |  | 0 | 0 | 0
1020 - Morgan |  |  |  |  | 0 |  | 0 | 0 | 0
1026 - Medley |  |  |  |  | 0 |  | 0 | 0 | 0
1030 - Nash |  |  |  |  | 0 |  | 0 | 0 | 0
1035 - Morrow |  |  |  |  | 0 |  | 0 | 0 | 0
1046 - Hazelwood |  |  |  |  | 0 |  | 0 | 0 | 0
1050 - McCaslin |  |  |  |  | 0 |  | 0 | 0 | 0
1086 - Steel |  |  |  |  | 0 |  | 0 | 0 | 0
NOTES: | Includes 2" Conduit to accommodate 200 amp service
9'-0" Ceilings INCL.
Includes Decora Switches & Plugs
Includes Dining Room Fixture
Includes "SILVER ROMA Fixture PACKAGE"
Includes Plug for Garage Door Opener
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras | [6 empty] | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS

## 1000 Series Extras
SCHEDULE "C"
PROJECT : | RATHWELL LANDING & PLACE ST THOMAS |  |  |  |  | DATE : | 2020-04-01
SERIES : | 1000 SERIES |  |  |  |  | CONTRACT # :
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 |  |  |  | April 1, 2020 to March 31, 2021
** PO REQUIRED **
Extra | [5 empty] | Cost | HST | Total
13%
1010 - Ferris | Optional Recreation Room | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional Kitchen Layout #3 | [5 empty] | 0 | 0
| Optional 4pc Ens. - 2 Sinks | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
1015 - Murry | Optional Recreation Room | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional Kitchen Layout #2 | [5 empty] | 0 | 0
| Optional Kitchen Layout #3 | [5 empty] | 0 | 0
| Optional 4pc Ens. - 2 Sinks | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
1016 - McCabe | Optional Recreation Room | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
1016 - McCabe W/Loft | Optional Recreation Room | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
1020 - Morgan | Optional Recreation Room | [5 empty] | 0 | 0
| Optional Basement Bedroom | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
1026 - Medley | Optional Recreation Room | [5 empty] | 0 | 0
| Optional Basement Bedroom | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional Sunroom | [5 empty] | 0 | 0
| Optional 4pc Ens. - 2 Sinks | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
1030 - Nash | Optional Recreation Room | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional Main Bathroom - 2 Sinks | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
1035 - Morrow | Optional Recreation Room | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional Kichen Island | [5 empty] | 0 | 0
| Optional Main Bathroom - 2 Sinks | [5 empty] | 0 | 0
| Optional 4pc Ens. - 2 Sinks | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
1046 - Hazelwood | Optional Recreation Room | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional Office Main & Laundry 2nd | [5 empty] | 0 | 0
| Optional 4pc Ens. - 2 Sinks | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
Builder Initials:
Contractor Initials:
1050 - McCaslin | Optional Recreation Room | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
1086 - Steel | Optional Recreation Room | [5 empty] | 0 | 0
| Optional 3pc Basement Bath | [5 empty] | 0 | 0
| Optional 4pc Ens. - 2 Sinks | [5 empty] | 0 | 0
| Optional 5pc Ensuite | [5 empty] | 0 | 0
| Walkout Condition | [5 empty] | 0 | 0
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras
G - Invoices received without ALL proper documentation will be returned. | [5 empty] | Builder Initials:
TERMS OF PAYMENT |  | 30 | DAYS | CONTRACTOR PER : |  | Contractor Initials:

## 5000 Series
SCHEDULE "C"
PROJECT : | DEERFIELD VILLAGE 2 | [5 empty] | DATE : | 2020-04-01
SERIES : | 5000 SERIES | [5 empty] | CONTRACT # : | S02- 042
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 | [5 empty] | April 1, 2020 to March 31, 2021
[7 empty] | SUBTOTAL | HST | TOTAL
STAGE | Underground | Services | Rough-in | Finishing | SUBTOTAL | Fixtures | COMPLETE
|  | Panel / Mtr. | Complete | Complete |  | Complete
percentage | [5 empty] | 100 % | 100%
CODE | 240 | 240 | 240 | 241 |  | 247
MODELS
5101 |  |  |  |  | 0 |  | 0 | 0 | 0
5102 |  |  |  |  | 0 |  | 0 | 0 | 0
5103 |  |  |  |  | 0 |  | 0 | 0 | 0
5104 |  |  |  |  | 0 |  | 0 | 0 | 0
5205 |  |  |  |  | 0 |  | 0 | 0 | 0
5206 |  |  |  |  | 0 |  | 0 | 0 | 0
5207 |  |  |  |  | 0 |  | 0 | 0 | 0
5208 |  |  |  |  | 0 |  | 0 | 0 | 0
5309 |  |  |  |  | 0 |  | 0 | 0 | 0
5310 |  |  |  |  | 0 |  | 0 | 0 | 0
5311 |  |  |  |  | 0 |  | 0 | 0 | 0
5312 |  |  |  |  | 0 |  | 0 | 0 | 0
Common |  |  |  |  | 0 |  | 0 | 0 | 0
NOTES: | 9'-0" Ceilings included in all 2nd and 3rd floor units
Includes Decora Switches & Plugs
Includes "SILVER ROMA Fixture PACKAGE"
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras | [6 empty] | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS | CONTRACTOR PER :

## Extras
SCHEDULE "C"
PROJECT : | All Sites |  |  |  |  | DATE : | 2020-04-01
SERIES : | Extras |  |  |  |  | CONTRACT # : | S02-All Sites
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 |  |  |  |  | April 1, 2020 to March 31, 2021
** PO REQUIRED **
Extra | [5 empty] | Cost | Tax | Total
13%
LABOUR
SERVICE CALL - ELECTRICIAN | [6 empty] | 0 | 0
DECORA DEVICES
Plug 15amp (on existing circuit) | [6 empty] | 0 | 0
Weather proof plug 15amp (on existing circuit) | [6 empty] | 0 | 0
Bathroom plug protected by GFI - 15amp | [6 empty] | 0 | 0
Dedicated plug - 15amp 120v | [6 empty] | 0 | 0
Dedicated plug - 20amp 120v | [6 empty] | 0 | 0
Dedicated weatherproof GFI plug 15amp 120v | [6 empty] | 0 | 0
Gas stove plug (on existing circuit) | [6 empty] | 0 | 0
HRV plug on existing circuit) w/low voltage to thermostat (wiring only) | [6 empty] | 0 | 0
Dedicated soffit plug w/switch for holiday lights - 15amp 120v | [6 empty] | 0 | 0
Decora single pole switch outlet | [6 empty] | 0 | 0
Decora 3 way switch | [6 empty] | 0 | 0
Decora 4 way switch | [6 empty] | 0 | 0
Upgrade switch to dimmer, single pole or 3way switch (300w LED or 600w incandescent) | [6 empty] | 0 | 0
UPGRADED DEVICES
USB Charger Receptacle on existing circuit (15amp plug) | [6 empty] | 0 | 0
USB Charger Receptacle (20amp plug) | [6 empty] | 0 | 0
Upgrade existing receptacle (15amp or 20amp) with USB Charger receptacle | [6 empty] | 0 | 0
Upgrade 15amp or 20amp receptacle to Black | [6 empty] | 0 | 0
Upgrade single pole or 3way switch to Black | [6 empty] | 0 | 0
Upgrade GFI 15amp or 20amp receptacle to Black | [6 empty] | 0 | 0
LIGHT OUTLETS
Standard light outlet (capped if no fixture is selected) | [6 empty] | 0 | 0
Outlet for future ceiling fan c/w 3 wires | [6 empty] | 0 | 0
Upgrade standard light outlet for a future ceiling fan | [6 empty] | 0 | 0
Reinforce light Outlet (suitable for ceiling fan - no 3wire) | [6 empty] | 0 | 0
Capped soffit light outlet (1st floor soffit) | [6 empty] | 0 | 0
Capped soffit light outlet (2nd floor soffit) | [6 empty] | 0 | 0
Wall mount photocell for exterior lighting | [6 empty] | 0 | 0
HEAVY CIRCUITS
Wire for wall oven or cooktop - 30amp breaker 120/240v | [6 empty] | 0 | 0
Wire for wall oven or cooktop - 40amp breaker 120/240v | [6 empty] | 0 | 0
Wire for wall oven or cook top - 50amp breaker 120/240v | [6 empty] | 0 | 0
Wire for wall oven or cook top - 60amp breaker 120/240v | [6 empty] | 0 | 0
Upgrade standard 40amp stove outlet to 50amps | [6 empty] | 0 | 0
Connection of wall oven or cooktop | [6 empty] | 0 | 0
Regular stove outlet (40amp breaker, #8 gauge) | [6 empty] | 0 | 0
Regular dryer outlet (30 amp breaker, #10 gauge) | [6 empty] | 0 | 0
Wire and connect whirlpool (single circuit) | [6 empty] | 0 | 0
Wire for future Hot Tub 50amp 120/240v | [6 empty] | 0 | 0
Wire for future Hot Tub 60amp 120/240v | [6 empty] | 0 | 0
Builder Initials:
Contractor Initials:
[7 empty] | Tax | Total
13%
BATH FANS
Timer 30 min. for bathroom fan (wiring not included) | [6 empty] | 0 | 0
Non-Energy Star (Bradley, St. Thomas, Trail West, Rathwell)
Bathroom exhaust fan 50 CFM c/w wiring - AS50 3.0 sones (switch not included) | [6 empty] | 0 | 0
Bathroom exhaust fan 90 CFM c/w wiring - BFQ90 2.5 sones (switch not included) | [6 empty] | 0 | 0
Upgrade 50CFM bathroom exhaust fan to AK 90 - 90 CFM 1.5 sones | [6 empty] | 0 | 0
Upgrade 90CFM bathroom exhaust fan to AK 90 - 90 CFM 1.5 sones | [6 empty] | 0 | 0
Upgrade 50 CFM bathroom exhaust fan to a AK110LS - 110 CFM 1.5 sones E.S. | [6 empty] | 0 | 0
Upgrade 90 CFM bathroom exhaust fan to a AK110 - 110 CFM 1.5 sones E.S. | [6 empty] | 0 | 0
Upgrade 50 CFM bathroom exhaust fan to a AK150LS - 150 CFM 0.8 sones E.S. | [6 empty] | 0 | 0
Upgrade 90 CFM bathroom exhaust fan to a AK150LS - 150 CFM 0.8 sones E.S. | [6 empty] | 0 | 0
Energy Star (Matador, Woodroffe Lofts)
Bathroom exhaust fan 70 CFM c/w wiring - BFQ75 - 70CFM 1.5 sones E.S. (switch not included) | [6 empty] | 0 | 0
Upgrade 70CFM bathroom exhaust fan to AK 90 - 90 CFM 1.5 sones E.S. | [6 empty] | 0 | 0
Upgrade 70 CFM bathroom exhaust fan to a AK110LS - 110 CFM 1.5 sones E.S. | [6 empty] | 0 | 0
Upgrade 70 CFM bathroom exhaust fan to a AK170LS - 170 CFM 0.8 sones E.S. | [6 empty] | 0 | 0
UPGRADES
Double heat lamp c/w 30 minute timer w/wiring | [6 empty] | 0 | 0
Upgrade to 9' Ceilings (per per level) | [6 empty] | 0 | 0
Wire fireplace | [6 empty] | 0 | 0
Wire for fireplace fan kit c/w wall switch for fan | [6 empty] | 0 | 0
Wire and Connect Make Up Air Unit (MAU and Current Relay Supplied by Others) | [6 empty] | 0 | 0
Combination Carbon Monoxide/Smoke/Strobe detector (wiring included) | [6 empty] | 0 | 0
Combination Smoke/Strobe detector (wiring included) | [6 empty] | 0 | 0
INSTALLATION
Connect dishwasher | [6 empty] | 0 | 0
Install purchaser's light fixture or ceiling fan (per hour) | [6 empty] | 0 | 0
SERVICE
Upgrade 100amp service to 200amp 84 circuit panel (Hydro service layout not included) | [6 empty] | 0 | 0
Upgrade 100amp service to 100amp split service | [6 empty] | 0 | 0
Upgrade 100amp service to 200amp split service | [6 empty] | 0 | 0
UNDER CABINET LIGHTING
T5LED strip 9", 14" or 23" (switch not included) | [6 empty] | 0 | 0
T5LED strip 35", 47" or 58" (switch not included) | [6 empty] | 0 | 0
PUCK LIGHTING
1 LED puck light c/w transformer and decora switch | [6 empty] | 0 | 0
2 LED puck light c/w transformer and decora switch | [6 empty] | 0 | 0
3 LED puck light c/w transformer and decora switch | [6 empty] | 0 | 0
4 LED puck light c/w transformer and decora switch | [6 empty] | 0 | 0
5 LED puck light c/w transformer and decora switch | [6 empty] | 0 | 0
POT LIGHTS
Interior
S & I (Qty 1) 4" Interior LED slim line pot light (AFR4-0930-WH) | [6 empty] | 0 | 0
S & I (Qty 4) 4" Interior LED slim line pot light (AFR4-0930-WH) | [6 empty] | 0 | 0
S & I (Qty 6) 4" Interior LED slim line pot light (AFR4-0930-WH) | [6 empty] | 0 | 0
S & I (Qty 8) 4" Interior LED slim line pot light (AFR4-0930-WH) | [6 empty] | 0 | 0
Additional charge for ceilings higher than 9ft (price per pot light) | [6 empty] | 0 | 0
Bonus Pot Light Pkg (6 LED pot lights in lieu of kitchen fixture - on existing switch) | [6 empty] | 0 | 0
Builder Initials:
Contractor Initials:
Exterior
S & I (Qty 1) 4" exterior LED slim line pot light (AFR4-0930-WH) | [6 empty] | 0 | 0
S & I (Qty 4) 4" exterior LED slim line pot light (AFR4-0930-WH) | [6 empty] | 0 | 0
S & I (Qty 6) 4" exterior LED slim line pot light (AFR4-0930-WH) | [6 empty] | 0 | 0
Additional charge for pot lights above 10ft (price per pot light) | [6 empty] | 0 | 0
UPGRADE FIXTURE PRICING (with LED bulbs)
Roma Collection
A121-11 |  | Walk-In Closet |  |  |  |  | 0 | 0
A3012-11 |  | Hallway / Bedroom / Laundry / Den / Bathroom Ceiling |  |  |  |  | 0 | 0
A3016-11 |  | Foyer / Kitchen / Master Bedroom / Family Room |  |  |  |  | 0 | 0
A3016P-11 |  | Breakfast Room |  |  |  |  | 0 | 0
A3016CH-11 |  | Dining Room |  |  |  |  | 0 | 0
A13012-11 |  | Powder Room / Bathroom 2 Light |  |  |  |  | 0 | 0
A13013-11 |  | Bathroom 3 Light |  |  |  |  | 0 | 0
A13015-11 |  | Bathroom 5 Light |  |  |  |  | 0 | 0
A16012-11 |  | Powder Room / Bathroom 2 Light |  |  |  |  | 0 | 0
A16013-11 |  | Bathroom 3 Light |  |  |  |  | 0 | 0
A16014-11 |  | Bathroom 4 Light |  |  |  |  | 0 | 0
A8001-11 |  | Kitchen Island |  |  |  |  | 0 | 0
WS12-11 |  | Wall Sconce |  |  |  |  | 0 | 0
A1010-6 |  | Front Exterior |  |  |  |  | 0 | 0
A40455-6 |  | Back Exterior |  |  |  |  | 0 | 0
Aurora Collection Brushed Nickel w/LED bulbs
A84011-11 |  | Wall Sconce |  |  |  |  | 0 | 0
A84012-11 |  | Powder Room / Bathroom 2 Light |  |  |  |  | 0 | 0
A84013-11 |  | Bathroom 3 Light |  |  |  |  | 0 | 0
A84014-11 |  | Bathroom 4 Light |  |  |  |  | 0 | 0
A84022-11 |  | Kitchen Island 2 Light |  |  |  |  | 0 | 0
A84033-11 |  | Hallway / Bedroom / Den / Family Room / Bath Ceiling |  |  |  |  | 0 | 0
A84043-11 |  | Foyer (1 Storey) / Kitchen / Master Bedroom / Family Room |  |  |  |  | 0 | 0
A84051-11 |  | Kitchen Island |  |  |  |  | 0 | 0
A84053-11 |  | Foyer (2 Storey) / Stairwell |  |  |  |  | 0 | 0
A84063-11 |  | Breakfast Room |  |  |  |  | 0 | 0
A84065-11 |  | Dining Room |  |  |  |  | 0 | 0
Rhythm Collection Brushed Nickel w/LED bulbs
A51011-11 |  | Wall Sconce |  |  |  |  | 0 | 0
A51012-11 |  | Powder Room / Bathroom 2 Light |  |  |  |  | 0 | 0
A51013-11 |  | Bathroom 3 Light |  |  |  |  | 0 | 0
A51014-11 |  | Bathroom 4 Light |  |  |  |  | 0 | 0
A51032-11 |  | Bath Ceiling |  |  |  |  | 0 | 0
A51033-11 |  | Hallway / Bedroom / Den / Family Room |  |  |  |  | 0 | 0
A51042-11 |  | Foyer (1 Storey) / Kitchen / Master Bedroom / Family Room |  |  |  |  | 0 | 0
A51051-11 |  | Kitchen Island |  |  |  |  | 0 | 0
A51053-11 |  | Foyer (2 Storey) / Stairwell |  |  |  |  | 0 | 0
A51063-11 |  | Breakfast Room |  |  |  |  | 0 | 0
A51065-11 |  | Dining Room |  |  |  |  | 0 | 0
Builder Initials:
Contractor Initials:
UPGRADE FIXTURE PRICING (with LED bulbs)
Zen Collection w/LED bulbs
A52011-11 |  | Wall Sconce |  |  |  |  | 0 | 0
A52012-11 |  | Powder Room / Bathroom 2 Light |  |  |  |  | 0 | 0
A52013-11 |  | Bathroom 3 Light |  |  |  |  | 0 | 0
A52014-11 |  | Bathroom 4 Light |  |  |  |  | 0 | 0
A52023-11 |  | Kitchen 3 Light Track |  |  |  |  | 0 | 0
A52033-11 |  | Hallway / Bedroom / Den / Family Room / Bath Ceiling |  |  |  |  | 0 | 0
A52042-11 |  | Foyer (1 Storey) / Kitchen / Master Bedroom / Family Room |  |  |  |  | 0 | 0
A52051-11 |  | Kitchen Island |  |  |  |  | 0 | 0
A52053-11 |  | Foyer (2 Storey) / Stairwell |  |  |  |  | 0 | 0
A52063-11 |  | Breakfast Room |  |  |  |  | 0 | 0
A52065-11 |  | Dining Room |  |  |  |  | 0 | 0
STANDARD ROMA FIXTURE CREDITS
A1010-6 |  | Front Exterior |  |  |  |  | 0 | 0
A40455-6 |  | Back Exterior |  |  |  |  | 0 | 0
A3581-6 |  | Soffit Fixture |  |  |  |  | 0 | 0
A3012-11 |  | Entry / Hall / Laundry / Mudroom / Office / Bath / Bedroom / Loft |  |  |  |  | 0 | 0
A3016CH-11 |  | High Entry / Dining Room / Stairwell |  |  |  |  | 0 | 0
WS3581-11 |  | Wall Sconce |  |  |  |  | 0 | 0
A3016-11 |  | Kitchen |  |  |  |  | 0 | 0
A3016P-11 |  | Dinette / Breakfast Room |  |  |  |  | 0 | 0
A121-1 |  | Closet / Pantry |  |  |  |  | 0 | 0
A16012-7 |  | Powder Room |  |  |  |  | 0 | 0
A16013-7 |  | Main Bath / Ensuite Bath |  |  |  |  | 0 | 0
M11001BZ |  | LED Bronze flush mount fixture (ELV dimmers required) |  |  |  |  | 0 | 0
M11001CH |  | LED Chrome flush mount fixture (ELV dimmers required) |  |  |  |  | 0 | 0
M12702BZ |  | Bronze flush mount fixture |  |  |  |  | 0 | 0
M12702CH |  | Chrome flush mount fixture |  |  |  |  | 0 | 0
A7213-BN |  | Brushed Nickel flush mount fixture |  |  |  |  | 0 | 0
NOTES
* - Future hot tub wiring includes breaker at panel spa pack c/w GFI breaker for hot tub and room for 2 auxilary breakers.
Spa pack to be mounted on exterior of house. (does not include wiring or connection from spa pack to hot tub)
** - adding a bedroom requires a visual alert smoke detector in the bedroom and a CO detector on that level.
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras |  |  |  |  | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS | CONTRACTOR PER :

## Alternate Fixture Package
SCHEDULE "C"
PROJECT : | All Sites |  |  |  | DATE : | 2020-04-01
SERIES : | Extras |  |  |  | CONTRACT # : | S02-All Sites
CONTRACTOR : | 0
CONTRACT PERIOD :
Work Schedule # : | A - 7 |  |  |  | April 1, 2020 to March 31, 2021
** PO REQUIRED **
Alternate Fixture Package |  |  |  |  | Extra Cost Per Package
100 Series |  |  |  |  | Aurora Increace | Rhythm Increace | Zen Increace
105 - Mann w/ARC
105 - Mann with 4pc ensuite w/ARC
110 - Thomas w/ARC
110 - Thomas with 4pc ensuite w/ARC
120 - Huntley w/ARC
120 - Huntley with 4pc ensuite w/ARC
130 - Lewis w/ARC
130 - Lewis with 4pc ensuite w/ARC
140 - Green w/ARC
140 - Green with 4pc ensuite w/ARC
160-2 - Stanley w/ARC (2nd floor laundry)
160-2 - Stanley (2nd floor laundry) with 4pc ensuite w/ARC
170 - Bassett w/ARC
170 - Bassett with 4pc ensuite w/ARC
800 Series |  |  |  |  | Aurora Increace | Rhythm Increace | Zen Increace
801 - The Sharpley w/ARC
804 - The Manning 2 Bedroom w/ARC
804 - The Manning 3 Bedroom w/ARC
805 - The Delahunt w/ARC
805 - The Delahunt with 4pc ensuite w/ARC
810 - The Kemp 3 Bedroom w/ARC
810 - The Kemp 4 Bedroom w/ARC
810 - The Kemp 3 Bedroom with 4pc ensuite w/ARC
815 - The Hartin w/ARC
815 - The Hartin with 4pc ensuite w/ARC
825 - The Bradley 3 Bedroom w/ARC
825 - The Bradley 4 Bedroom w/ARC
825 - The Bradley 3 Bedroom with 4pc ensuite w/ARC
825 - The Bradley 4 Bedroom with 4pc ensuite w/ARC
830 - The Butler w/ARC
830 - The Butler with 4pc ensuite w/ARC
870 - The Dennison w/ARC
870 - The Dennison with 4pc ensuite w/ARC
Builder Initials:
Contractor Initials:
1000 Series |  |  |  |  | Aurora Increace | Rhythm Increace | Zen Increace
1010 - Ferris w/ARC |  |  |  |  | 509 | 813 | 1328
1010 - Ferris w/ 4pc Ensuite w/ARC |  |  |  |  | 542 | 884 | 1462
1015 - Murry w/ARC |  |  |  |  | 503 | 941 | 1502
1016 - McCabe w/ARC |  |  |  |  | 376 | 642 | 1036
1016 - McCabe w/ Loft w/ARC |  |  |  |  | 476 | 787 | 1289
1016 - McCabe w/ 4pc Ensuite w/ARC |  |  |  |  | 409 | 679 | 1095
1016 - McCabe w/ Loft + 4pc Ensuite w/ARC |  |  |  |  | 509 | 824 | 1348
1020 - Morgan w/ARC |  |  |  |  | 509 | 790 | 1274
1020 - Morgan w/ 4pc Ensuite w/ARC |  |  |  |  | 509 | 790 | 1274
1026 - Medley w/ARC |  |  |  |  | 352 | 628 | 1097
1026 - Medley w/ Sunroom w/ARC |  |  |  |  | 385 | 664 | 1156
1030 - Nash w/ARC |  |  |  |  | 543 | 951 | 1603
1030 - Nash w/ 4pc Ensuite w/ARC |  |  |  |  | 544 | 985 | 1678
1035 - Morrow w/ARC |  |  |  |  | 611 | 1126 | 1938
1035 - Morrow w/ 4pc Ensuite w/ARC |  |  |  |  | 611 | 1126 | 1938
1046 - Hazelwood w/ARC |  |  |  |  | 577 | 988 | 1663
1046 - Hazelwood w/ Home Office w/ARC |  |  |  |  | 610 | 1025 | 1723
1046 - Hazelwood w/ 4pc Ensuite w/ARC |  |  |  |  | 577 | 1023 | 1738
1046 - Hazelwood w/ Home Office + 4pc Ensuite w/ARC |  |  |  |  | 610 | 1059 | 1797
1050 - McCaslin w/ARC |  |  |  |  | 610 | 1025 | 1723
1050 - McCaslin w/ 4pc Ensuite w/ARC |  |  |  |  | 610 | 1059 | 1797
1086 - Steel w/ARC |  |  |  |  | 743 | 1207 | 2036
SERVICE : | Hourly Rate for repairs and authorized service outside of contractual obligations is = / Hr. / Man
NOTE : ALL INVOICES MUST INCLUDE THE FOLLOWING ITEMS
A - Contract No. , Lot / Unit No. , Model No. , Project Name, Completion Slip #, P.O.# (if required) Description of work
B - Codes for your operations as per Schedule "C"
C - Invoices which have more than one Contract No. will not be accepted
D - A Purchase Order # must be obtained for all work performed which is not included in this contract such
as extras, repairs and service. This work must be submitted on a separate invoice for each Purchase Order #.
E - All invoices, extras, repairs or other must be accompanied by a completion slip, change order or work order from
a Valecraft Superintendent and a Purchase Order if applicable.
F - Code 680 is for Extras | [5 empty] | Builder Initials:
G - Invoices received without ALL proper documentation will be returned.
Contractor Initials:
TERMS OF PAYMENT |  | 30 | DAYS | CONTRACTOR PER :

## Standard - Roma
| DINING ROOM, STAIRWELL |  |  |  | DINING ROOM, STAIRWELL |  |  | ENTRY / HALL / LAUNDRY / BEDROOMS / DEN / STUDY |  |  |  |  | DINING ROOM, STAIRWELL |  |  |  | ENTRY / HALL / LAUNDRY / BEDROOMS / DEN / STUDY
| & HIGH ENTRY |  |  |  | & HIGH ENTRY |  |  | BATH CEILING / KITCHEN SINK / FINISHED BASEMENT |  |  |  |  | & HIGH ENTRY |  |  |  | BATH CEILING / KITCHEN SINK / FINISHED BASEMENT
BREAKFAST & DINETTE
[8 empty] | SAN-A3012-11 | [8 empty] | SAN-A3012-11
[8 empty] | 12" wide | [8 empty] | 12" wide
[8 empty] | Bulb: 2 x LED | [8 empty] | Bulb: 2 x LED
SAN-A3016P-11
Bulb: 1 x LED
| SAN-A3016ch-11 |  |  |  | SAN-A3016ch-11 |  | BREAKFAST & DINETTE |  |  | BASEMENT STAIRS & |  |  | SAN-A3016ch-11 |  |  | BREAKFAST & DINETTE |  |  | BASEMENT STAIRS &
| Bulb: 3 x LED |  |  |  | Bulb: 3 x LED |  |  |  |  | SOFFIT |  |  | Bulb: 3 x LED | [5 empty] | SOFFIT
ENTRY / HALL / LAUNDRY / BEDROOMS / DEN / STUDY
| KITCHEN |  | BATH CEILING / KITCHEN SINK / FINISHED BASEMENT |  | KITCHEN | [7 empty] | KITCHEN
| SAN-A3016-11 |  | SAN-A3012-11 |  | SAN-A3016-11 |  | SAN-A3016P-11 |  |  | AFR4-0930-WH |  |  | SAN-A3016-11 |  |  | SAN-A3016P-11 |  |  | AFR4-0930-WH
| 16" wide |  | 12" wide |  | 16" wide |  | Bulb: 1 x LED |  |  | LED POTLIGHT |  |  | 16" wide |  |  | Bulb: 1 x LED |  |  | LED POTLIGHT
| Bulb: 3 x LED |  | Bulb: 2 x LED |  | Bulb: 3 x LED | [7 empty] | Bulb: 3 x LED
| BATHROOM VANITY |  | POWDER ROOM VANITY |  |  | BATHROOM VANITY |  |  | POWDER ROOM VANITY |  |  |  |  | BATHROOM VANITY |  |  |  | POWDER ROOM VANITY
| SAN-A16013-7 |  | SAN-A16012-7 |  |  | SAN-A16013-7 |  |  | SAN-A16012-7 |  |  |  |  | SAN-A16013-7 |  |  |  | SAN-A16012-7
| 24" wide - 3 x LED |  | 14" wide - 2 x LED |  |  | 24" wide - 3 x LED |  |  | 14" wide - 2 x LED |  |  |  |  | 24" wide - 3 x LED |  |  |  | 14" wide - 2 x LED
EXTERIOR FRONT & |  |  |  |  | EXTERIOR FRONT |  | EXTERIOR BACK |  |  | CLOSET / PANTRY |  |  | EXTERIOR FRONT |  |  | EXTERIOR BACK |  |  | CLOSET / PANTRY
BASEMENT STAIRS & |  | EXTERIOR BACK |  | CLOSET / PANTRY
AFR4-0930-WH |  | SAN-A40455-6 |  | SAN-A121-11 | SAN-A1010-6 |  | SAN-A40455-6 |  |  | SAN-A121-11 |  | SAN-A1010-6 |  |  | SAN-A40455-6 |  |  |  | SAN-A121-11
LED POTLIGHT |  | Bulb: 1 x LED |  | Bulb: 1 x LED | Bulb: 1 x LED |  | Bulb: 1 x LED |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED |  |  | Bulb: 1 x LED |  |  |  | Bulb: 1 x LED
[5 empty] | I was under the impression that we could NOT install capped outlet since we have to test it…. | [6 empty] | I was under the impression that we could NOT install capped outlet since we have to test it….
[5 empty] | *** CAPPED LIGHT OUTLETS IN FAMILY ROOM, GREAT ROOM & LIVING ROOM *** | [5 empty] | *** CAPPED LIGHT OUTLETS IN MASTER BEDROOM, FAMILY ROOM, GREAT ROOM & LIVING ROOM ***
AURORA
Fixture Package
100 Series Towns 2018
Standard - ROMA
Fixture Package
100 Series Towns 2018
AURORA
Fixture Package
100 Series Towns 2018
Standard - ROMA
Fixture Package
800 Series Singles 2018
AURORA
Fixture Package
100 Series Towns 2018
Standard - ROMA
Fixture Package
1000 Series Singles 2018

## Aurora
STAIRWELL & HIGH ENTRY |  |  | DINING ROOM |  |  | BREAKFAST & DINETTE |  | STAIRWELL & HIGH ENTRY |  |  | DINING ROOM |  |  | BREAKFAST & DINETTE |  | STAIRWELL & HIGH ENTRY |  |  | DINING ROOM |  |  | BREAKFAST & DINETTE
`
SAN-A84053-11 |  |  | SAN-A84065-11 |  |  | SAN-A84063-11 |  | SAN-A84053-11 |  |  | SAN-A84065-11 |  |  | SAN-A84063-11 |  | SAN-A84053-11 |  |  | SAN-A84065-11 |  |  | SAN-A84063-11
Bulb: 3 x LED |  |  | Bulb: 5 x LED |  |  | Bulb: 3 x LED |  | Bulb: 3 x LED |  |  | Bulb: 5 x LED |  |  | Bulb: 3 x LED |  | Bulb: 3 x LED |  |  | Bulb: 5 x LED |  |  | Bulb: 3 x LED
16"D x 24"H |  |  | 26” Width x 22” Height |  |  | 17” Width x 22” Height |  | 16"D x 24"H |  |  | 26” Width x 22” Height |  |  | 17” Width x 22” Height |  | 16"D x 24"H |  |  | 26” Width x 22” Height |  |  | 17” Width x 22” Height
|  | ENTRY / HALL / LAUNDRY / BEDROOMS / DEN / STUDY |  |  | KITCHEN & BEDROOM CATHEDRAL |  |  |  | ENTRY / HALL / LAUNDRY / BEDROOMS / |  |  | KITCHEN & |  | BASEMENT STAIRS & |  |  | ENTRY / HALL / LAUNDRY / BEDROOMS / |  |  | KITCHEN & |  | BASEMENT STAIRS &
|  | BATH CEILING / KITCHEN SINK / FINISHED BASEMENT | [6 empty] | BATH CEILING / KITCHEN SINK / |  |  | BEDROOM CATHEDRAL |  | SOFFIT |  |  | BATH CEILING / KITCHEN SINK & ISLAND |  |  | BEDROOM CATHEDRAL |  | SOFFIT
[9 empty] | DEN / STUDY / FINISHED BASEMENT | [7 empty] | DEN / STUDY / FINISHED BASEMENT
|  | SAN-A84033-11 |  |  | SAN-A84043-11 |  |  | SAN-A84033-11 | [5 empty] | AFR4-0930-WH |  | SAN-A84033-11 | [5 empty] | AFR4-0930-WH
|  | Bulb: 3 x LED |  |  | Bulb: 3 x LED |  |  | Bulb: 3 x LED |  |  |  | SAN-A84043-11 |  | LED POTLIGHT |  | Bulb: 3 x LED |  |  |  | SAN-A84043-11 |  | LED POTLIGHT
|  | 16” Width x 9” Height |  |  | 14” Width x 14” Height |  |  | 16” Width x 9” Height |  |  |  | Bulb: 3 x LED |  |  |  | 16” Width x 9” Height |  |  |  | Bulb: 3 x LED
[12 empty] | 14” Width x 14” Height | [7 empty] | 14” Width x 14” Height
|  | BATHROOM VANITY |  |  | BATHROOM VANITY |  |  |  |  | BATHROOM VANITY |  |  |  | POWDER ROOM VANITY |  |  |  | BATHROOM VANITY |  |  |  | POWDER ROOM VANITY
|  | SAN-A16013-7 |  |  | SAN-A16012-7 |  |  |  |  | SAN-A16013-7 |  |  | SAN-A16012-7 |  |  |  |  | SAN-A16013-7 |  |  | SAN-A16012-7
|  | 24" wide - 3 x LED |  |  | 14" wide - 2 x LED |  |  |  |  | 24" wide - 3 x LED |  |  | 14" wide - 2 x LED |  |  |  |  | 24" wide - 3 x LED |  |  | 14" wide - 2 x LED
| EXTERIOR FRONT & | [7 empty] | EXTERIOR FRONT |  |  | EXTERIOR BACK |  | CLOSET / PANTRY |  |  | EXTERIOR FRONT |  |  | EXTERIOR BACK |  | CLOSET / PANTRY
| BASEMENT STAIRS & |  |  | EXTERIOR BACK |  | CLOSET / PANTRY
| AFR4-0930-WH |  |  | SAN-A40455-6 |  | SAN-A121-11
| LED POTLIGHT |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED |  |  | SAN-A1010-6 |  |  | SAN-A40455-6 |  | SAN-A121-11 |  |  | SAN-A1010-6 |  |  | SAN-A40455-6 |  | SAN-A121-11
[9 empty] | Bulb: 1 x LED |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED |  |  | Bulb: 1 x LED |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED
[9 empty] | I was under the impression that we could NOT install capped outlet since we have to test it…. | [7 empty] | I was under the impression that we could NOT install capped outlet since we have to test it….
[9 empty] | *** CAPPED LIGHT OUTLETS IN FAMILY ROOM, GREAT ROOM & LIVING ROOM *** | [5 empty] | *** CAPPED LIGHT OUTLETS IN MASTER BEDROOM, FAMILY ROOM, GREAT ROOM & LIVING ROOM ***
AURORA
Fixture Package
100 Series Towns 2018
AURORA
Fixture Package
800 Series Singles 2018
AURORA
Fixture Package
1000 Series Singles 2018

## Rhythm
STAIRWELL & HIGH ENTRY |  |  | DINING ROOM |  |  | BREAKFAST & DINETTE |  | STAIRWELL & HIGH ENTRY |  | DINING ROOM |  | BREAKFAST & DINETTE |  | STAIRWELL & HIGH ENTRY |  | DINING ROOM |  | BREAKFAST & DINETTE
`
SAN-A51053-11 |  |  | SAN-A51065-11 |  |  | SAN-A51063-11 |  | SAN-A51053-11 |  | SAN-A51065-11 |  | SAN-A51063-11 |  | SAN-A51053-11 |  | SAN-A51065-11 |  | SAN-A51063-11
Bulb: 3 x LED |  |  | Bulb: 5 x LED |  |  | Bulb: 3 x LED |  | Bulb: 3 x LED |  | Bulb: 5 x LED |  | Bulb: 3 x LED |  | Bulb: 3 x LED |  | Bulb: 5 x LED |  | Bulb: 3 x LED
17" Width x 23” Height |  |  | 28” Width x 20” Height |  |  | 22” Width x 18” Height |  | 17" Width x 23” Height |  | 28” Width x 20” Height |  | 22” Width x 18” Height |  | 17" Width x 23” Height |  | 28” Width x 20” Height |  | 22” Width x 18” Height
|  |  | HALL / LAUNDRY / BEDROOMS / | [6 empty] | HALL / LAUNDRY / BEDROOMS / | [5 empty] | HALL / LAUNDRY / BEDROOMS /
ENTRY |  |  | BATH CEILING / KITCHEN SINK / |  |  | KITCHEN |  | ENTRY |  | BATH CEILING / KITCHEN SINK / |  | KITCHEN |  | ENTRY |  | BATH CEILING / KITCHEN SINK / |  | KITCHEN
|  |  | DEN / STUDY / FINISHED BASEMENT | [6 empty] | DEN / STUDY / FINISHED BASEMENT | [5 empty] | DEN / STUDY / FINISHED BASEMENT
SAN-A51042-11 |  |  | SAN-A51032-11 |  |  | SAN-A51033-11 |  | SAN-A51042-11 |  | SAN-A51032-11 |  | SAN-A51033-11 |  | SAN-A51042-11 |  | SAN-A51032-11 |  | SAN-A51033-11
Bulb: 2 x LED |  |  | Bulb: 2 x LED |  |  | Bulb: 3 x LED |  | Bulb: 2 x LED |  | Bulb: 2 x LED |  | Bulb: 3 x LED |  | Bulb: 2 x LED |  | Bulb: 2 x LED |  | Bulb: 3 x LED
13" Width x 10” Height |  |  | 13" Width x 6” Height |  |  | 19" Width x 9” Height |  | 13" Width x 10” Height |  | 13" Width x 6” Height |  | 19" Width x 9” Height |  | 13" Width x 10” Height |  | 13" Width x 6” Height |  | 19" Width x 9” Height
[12 empty] | BASEMENT STAIRS & | [5 empty] | BASEMENT STAIRS &
|  | BATHROOM VANITY |  |  | BATHROOM VANITY |  |  |  | BATHROOM VANITY |  | BATHROOM VANITY | SOFFIT |  |  | BATHROOM VANITY |  | BATHROOM VANITY | SOFFIT
|  | SAN-A51013-11 |  |  | SAN-A51012-11 |  |  |  | SAN-A51013-11 |  | SAN-A51012-11 | AFR4-0930-WH |  |  | SAN-A51013-11 |  | SAN-A51012-11 | AFR4-0930-WH
|  | 25" wide - 3 x LED |  |  | 16" wide - 2 x LED |  |  |  | 25" wide - 3 x LED |  | 16" wide - 2 x LED | LED POTLIGHT |  |  | 25" wide - 3 x LED |  | 16" wide - 2 x LED | LED POTLIGHT
| EXTERIOR FRONT & | [7 empty] | EXTERIOR FRONT |  | EXTERIOR BACK | CLOSET / PANTRY |  |  | EXTERIOR FRONT |  | EXTERIOR BACK | CLOSET / PANTRY
| BASEMENT STAIRS & |  |  | EXTERIOR BACK |  | CLOSET / PANTRY
| AFR4-0930-WH |  |  | SAN-A40455-6 |  | SAN-A121-11 |  |  | SAN-A1010-6 |  | SAN-A40455-6 | SAN-A121-11 |  |  | SAN-A1010-6 |  | SAN-A40455-6 | SAN-A121-11
| LED POTLIGHT |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED | Bulb: 1 x LED |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED | Bulb: 1 x LED
[9 empty] | I was under the impression that we could NOT install capped outlet since we have to test it…. |  |  |  |  | I was under the impression that we could NOT install capped outlet since we have to test it….
[9 empty] | *** CAPPED LIGHT OUTLETS IN FAMILY ROOM, GREAT ROOM & LIVING ROOM *** |  |  |  | *** CAPPED LIGHT OUTLETS IN MASTER BEDROOM, FAMILY ROOM, GREAT ROOM & LIVING ROOM ***
RHYTHM
Fixture Package
100 Series Towns 2018
RHYTHM
Fixture Package
800 Series Singles 2018
RHYTHM
Fixture Package
1000 Series Singles 2018

## Zen
STAIRWELL & HIGH ENTRY |  |  | DINING ROOM |  |  | BREAKFAST & DINETTE | STAIRWELL & HIGH ENTRY |  |  |  | DINING ROOM |  |  | BREAKFAST & DINETTE | STAIRWELL & HIGH ENTRY |  |  |  | DINING ROOM |  |  | BREAKFAST & DINETTE
SAN-A52053-11 |  |  | SAN-A52065-11 |  |  | SAN-A52063-11 | SAN-A52053-11 |  |  |  | SAN-A52065-11 |  |  | SAN-A52063-11 | SAN-A52053-11 |  |  |  | SAN-A52065-11 |  |  | SAN-A52063-11
Bulb: 3 x LED |  |  | Bulb: 5 x LED |  |  | Bulb: 3 x LED | Bulb: 3 x LED |  |  |  | Bulb: 5 x LED |  |  | Bulb: 3 x LED | Bulb: 3 x LED |  |  |  | Bulb: 5 x LED |  |  | Bulb: 3 x LED
18" Width x 24” Height |  |  | 26” Width x 24” Height |  |  | 21” Width x 24” Height | 18" Width x 24” Height |  |  |  | 26” Width x 24” Height |  |  | 21” Width x 24” Height | 18" Width x 24” Height |  |  |  | 26” Width x 24” Height |  |  | 21” Width x 24” Height
|  |  | HALL / LAUNDRY / BEDROOMS / | [7 empty] | HALL / LAUNDRY / BEDROOMS / | [7 empty] | HALL / LAUNDRY / BEDROOMS /
ENTRY |  |  | BATH CEILING / KITCHEN SINK / |  |  | KITCHEN | ENTRY |  |  |  | BATH CEILING / KITCHEN SINK / |  |  | KITCHEN | ENTRY |  |  |  | BATH CEILING / KITCHEN SINK / |  |  | KITCHEN
|  |  | DEN / STUDY / FINISHED BASEMENT | [7 empty] | DEN / STUDY / FINISHED BASEMENT | [7 empty] | DEN / STUDY / FINISHED BASEMENT
SAN-A52042-11 |  |  | SAN-A52032-11 |  |  | SAN-A52033-11 | SAN-A52042-11 |  |  |  | SAN-A52032-11 |  |  | SAN-A52033-11 | SAN-A52042-11 |  |  |  | SAN-A52032-11 |  |  | SAN-A52033-11
Bulb: 2 x LED |  |  | Bulb: 2 x LED |  |  | Bulb: 3 x LED | Bulb: 2 x LED |  |  |  | Bulb: 2 x LED |  |  | Bulb: 3 x LED | Bulb: 2 x LED |  |  |  | Bulb: 2 x LED |  |  | Bulb: 3 x LED
15" Width x 13” Height |  |  | 13" Width x 7” Height |  |  | 15" Width x 8” Height | 15" Width x 13” Height |  |  |  | 13" Width x 7” Height |  |  | 15" Width x 8” Height | 15" Width x 13” Height |  |  |  | 13" Width x 7” Height |  |  | 15" Width x 8” Height
|  | BATHROOM VANITY |  |  | POWDER ROOM |  |  |  | BATHROOM VANITY |  |  |  | POWDER ROOM |  |  |  | BATHROOM VANITY |  |  |  | POWDER ROOM
|  | SAN-A52013-11 |  |  | SAN-A52012-11 |  |  |  | SAN-A52013-11 |  |  |  | SAN-A52012-11 |  |  |  | SAN-A52013-11 |  |  |  | SAN-A52012-11
|  | 23" wide - 3 x LED |  |  | 15" wide - 2 x LED |  |  |  | 23" wide - 3 x LED |  |  |  | 15" wide - 2 x LED |  |  |  | 23" wide - 3 x LED |  |  |  | 15" wide - 2 x LED
[10 empty] | EXTERIOR FRONT | [7 empty] | EXTERIOR FRONT
| EXTERIOR FRONT & |  |  | EXTERIOR BACK |  | CLOSET / PANTRY | BASEMENT STAIRS & |  |  |  |  | EXTERIOR BACK |  | CLOSET / PANTRY | BASEMENT STAIRS & |  |  |  |  | EXTERIOR BACK |  |  | CLOSET / PANTRY
| BASEMENT STAIRS | [5 empty] | SOFFIT | [7 empty] | SOFFIT
| AFR4-0930-WH |  |  | SAN-A40455-6 |  | SAN-A121-11 | [8 empty] | AFR4-0930-WH |  |  | SAN-A1010-6 |  | SAN-A40455-6 |  |  | SAN-A121-11
| LED POTLIGHT |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED | AFR4-0930-WH |  |  | SAN-A1010-6 |  | SAN-A40455-6 |  | SAN-A121-11 | LED POTLIGHT |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED |  |  | Bulb: 1 x LED
[7 empty] | LED POTLIGHT |  |  | Bulb: 1 x LED |  | Bulb: 1 x LED |  | Bulb: 1 x LED
[8 empty] | I was under the impression that we could NOT install capped outlet since we have to test it…. | [7 empty] | I was under the impression that we could NOT install capped outlet since we have to test it….
[8 empty] | *** CAPPED LIGHT OUTLETS IN FAMILY ROOM, GREAT ROOM & LIVING ROOM *** | [6 empty] | *** CAPPED LIGHT OUTLETS IN MASTER BEDROOM, FAMILY ROOM, GREAT ROOM & LIVING ROOM ***
ZEN
Fixture Package
100 Series Towns 2018
ZEN
Fixture Package
800 Series Singles 2018
ZEN
Fixture Package
1000 Series Singles 2018